LB1010 	LB1010

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1010

FINAL READING

Introduced byBrandt, 32.

Read first time January 13, 2026

Committee: Natural Resources

1 	A BILL FOR AN ACT relating to electricity; to amend sections 70-670 and

2 	70-1012.01, Reissue Revised Statutes of Nebraska, sections 70-704,

3 	77-6202, and 77-6203, Revised Statutes Cumulative Supplement, 2024,

4 	and sections 13-518, 70-1001.01, 70-1012, 70-1015, 70-1506, 77-202,

5 	and 77-6204, Revised Statutes Supplement, 2025; to adopt the Large

6 	Load Customer Regulation Act; to change provisions relating to

7 	restricted funds; to provide for eminent domain relating to energy

8 	storage; to provide for storage of electric energy under the

9 	Electric Cooperative Corporation Act; to define and redefine terms;

10 	to change application, notice, filing, exemption, and violation

11 	provisions, and provide for certain energy storage resources

12 	relating to certain electric suppliers; to change provisions

13 	relating to cryptocurrency mining operations and data centers; to

14 	provide requirements relating to data centers; to provide for a

15 	nameplate capacity tax for energy storage resources; to harmonize

16 	provisions; and to repeal the original sections.

17 	Be it enacted by the people of the State of Nebraska,

-1-

| LB1010 |  |  |  |  |  |  |  |  |  |  |  | LB1010 |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Section 1. Sections 1 to 4 of this act shall be known and may be |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | cited as the Large Load Customer Regulation Act. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Sec. 2. For purposes of the Large Load Customer Regulation Act: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | (1) Large load customer means a retail load customer requesting a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | new or expanded interconnection where the total load at a single site |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | would exceed twenty megawatts; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | (2) Onsite backup generating facilities means (a) generation of one |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | megawatt or larger that is not capable of operating in parallel with the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | grid for greater than one-tenth of a second or (b) generation of one |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | megawatt or larger that is capable of operating continuously in parallel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | with | the |  | grid, |  |  |  | non-exporting, |  |  |  |  | and |  | meeting |  |  | applicable |  |  | generator |  |  |
| 12 | interconnection requirements; and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | (3) Public power supplier means a public power district organized |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | under Chapter 70, article 6, a public power and irrigation district, a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | municipality, |  |  |  | a |  | registered |  |  |  | group |  |  | of |  | municipalities, |  |  |  | an |  | electric |  |
| 16 | cooperative, an electric membership association, a joint entity formed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | under the Interlocal Cooperation Act, a joint public agency formed under |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | the Joint Public Agency Act, an agency formed under the Municipal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | Cooperative Financing Act, or any other governmental entity providing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | electric service. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | Sec. 3. (1) Public power suppliers shall establish standards for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | interconnecting large load customers in a manner designed to support |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | business development in this state while mitigating the potential for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | stranded infrastructure costs and maintaining system reliability. The |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | standards shall include, but are not limited to: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | (a) A requirement for each large load customer to disclose to the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | interconnecting public power supplier whether the customer is pursuing a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | substantially similar request for electric service the approval of which |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | would |  | result |  |  | in |  |  | the | customer |  |  | materially |  |  |  | changing, |  | delaying, |  |  |  | or |
| 30 | withdrawing the interconnection request. The disclosure may redact |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 | competitively sensitive details. The public power supplier shall not |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

-2-

LB1010 	LB1010

2026 	2026

1 	sell, share, or disclose the information submitted to it under this

2 	subdivision;

3 	(b) A requirement for each interconnected large load customer to

4 	disclose to the interconnecting public power supplier information about

5 	the customer's onsite backup generating facilities. The public power

6 	supplier shall use such information for purposes of the procedure

7 	described in section 4 of this act;

8 	(c) A study fee of fifty thousand dollars or one thousand dollars

9 	per megawatt, whichever is greater, to be paid to the interconnecting

10 	public power supplier for initial studies for loads that exceed the load

11 	threshold described in subdivision (1) of section 2 of this act. A large

12 	load customer that requests additional capacity following the study shall

13 	pay an additional study fee based on the new request. The public power

14 	supplier shall complete the study within one year after receiving the

15 	study fee;

16 	(d) A method for a large load customer to demonstrate site control

17 	for the proposed load location; and

18 	(e) Financial commitment requirements for the development of

19 	transmission and generation infrastructure needed to serve a large load

20 	customer.

21 	(2) A public power supplier is authorized to establish or negotiate

22 	rates, charges, and operating standards for each large load customer that

23 	fairly allocate electricity system costs to the large load customer and

24 	also mitigate (a) operational and resource adequacy risks and (b)

25 	financial risks to other customers, without regard to the requirements of

26 	section 70-655.

27 	(3) A public power supplier may impose electric service requirements

28 	for large load customers on its system in addition to the standards

29 	established under this section.

30 	Sec. 4.  Public power suppliers shall develop a procedure to:

31 	(1) Procure demand response, reductions, and load flexibility from

-3-

LB1010 	LB1010

2026 	2026

1 	large load customers; and

2 	(2) In the event of grid instability or an emergency condition,

3 	require the affected large load customers to curtail load or, for those

4 	customers with onsite backup generating facilities, to deploy such

5 	facilities for the duration of the grid instability or emergency

6 	condition or until the load can be recalled safely.

7 	Sec. 5. Section 13-518, Revised Statutes Supplement, 2025, is

8 	amended to read:

9 	13-518 For purposes of sections 13-518 to 13-522:

10 	(1) Allowable growth means (a) for governmental units other than

11 	community colleges, the percentage increase in taxable valuation in

12 	excess of the base limitation established under section 77-3446, if any,

13 	due to (i) improvements to real property as a result of new construction

14 	and additions to existing buildings, (ii) any other improvements to real

15 	property which increase the value of such property, (iii) any increase in

16 	valuation due to annexation of real property by the governmental unit,

17 	(iv) a change in the use of real property, (v) any increase in personal

18 	property valuation over the prior year, and (vi) the accumulated excess

19 	valuation over the redevelopment project valuation described in section

20 	18-2147 of the Community Development Law for redevelopment projects

21 	within the governmental unit in the year immediately after the division

22 	of taxes for such redevelopment project has ended and (b) for community

23 	colleges, the percentage increase in excess of the base limitation, if

24 	any, in full-time equivalent students from the second year to the first

25 	year preceding the year for which the budget is being determined;

26 	(2) Capital improvements means (a) acquisition of real property or

27 	(b) acquisition, construction, or extension of any improvements on real

28 	property;

29 	(3) Governing body has the same meaning as in section 13-503, except

30 	that for fiscal years beginning on or after July 1, 2025, such term shall

31 	not include the governing body of any county, city, or village;

-4-

| LB1010 |  |  |  |  |  | LB1010 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |
| 1 | (4) Governmental unit means every political subdivision which has |  |  |  |  |  |  |  |  |  |
| 2 | authority to levy a property tax or authority to request levy authority |  |  |  |  |  |  |  |  |  |
| 3 | under section 77-3443, except that such term shall not include (a) |  |  |  |  |  |  |  |  |  |
| 4 | sanitary and improvement districts which have been in existence for five |  |  |  |  |  |  |  |  |  |
| 5 | years or less, (b) school districts, or (c) for fiscal years beginning on |  |  |  |  |  |  |  |  |  |
| 6 | or after July 1, 2025, counties, cities, or villages; |  |  |  |  |  |  |  |  |  |
| 7 | (5) Qualified sinking fund means a fund or funds maintained |  |  |  |  |  |  |  |  |  |
| 8 | separately from the general fund to pay for acquisition or replacement of |  |  |  |  |  |  |  |  |  |
| 9 | tangible personal property with a useful life of five years or more which |  |  |  |  |  |  |  |  |  |
| 10 | is to be undertaken in the future but is to be paid for in part or in |  |  |  |  |  |  |  |  |  |
| 11 | total in advance using periodic payments into the fund. The term includes |  |  |  |  |  |  |  |  |  |
| 12 | sinking funds under subdivision (13) of section 35-508 for firefighting |  |  |  |  |  |  |  |  |  |
| 13 | and rescue equipment or apparatus; |  |  |  |  |  |  |  |  |  |
| 14 | (6) Restricted funds means (a) property tax, excluding any amounts |  |  |  |  |  |  |  |  |  |
| 15 | refunded to taxpayers, (b) payments in lieu of property taxes, (c) local |  |  |  |  |  |  |  |  |  |
| 16 | option sales taxes, (d) motor vehicle taxes, (e) state aid, (f) transfers |  |  |  |  |  |  |  |  |  |
| 17 | of surpluses from any user fee, permit fee, or regulatory fee if the fee |  |  |  |  |  |  |  |  |  |
| 18 | surplus is transferred to fund a service or function not directly related |  |  |  |  |  |  |  |  |  |
| 19 | to the fee and the costs of the activity funded from the fee, (g) any |  |  |  |  |  |  |  |  |  |
| 20 | funds excluded from restricted funds for the prior year because they were |  |  |  |  |  |  |  |  |  |
| 21 | budgeted for capital improvements but which were not spent and are not |  |  |  |  |  |  |  |  |  |
| 22 | expected to be spent for capital improvements, (h) the tax provided in |  |  |  |  |  |  |  |  |  |
| 23 | sections 77-27,223 to 77-27,227 beginning in the second fiscal year in |  |  |  |  |  |  |  |  |  |
| 24 | which the county will receive a full year of receipts, and (i) any excess |  |  |  |  |  |  |  |  |  |
| 25 | tax collections returned to the county under section 77-1776. Funds |  |  |  |  |  |  |  |  |  |
| 26 | received pursuant to the nameplate capacity tax levied under section |  |  |  |  |  |  |  |  |  |
| 27 | 77-6203 for the first five years after a renewable energy generation |  |  |  |  |  |  |  |  |  |
| 28 | facility | or | energy | storage | resource |  | has | been | commissioned | are |
| 29 | nonrestricted funds; and |  |  |  |  |  |  |  |  |  |
| 30 | (7) State aid means: |  |  |  |  |  |  |  |  |  |
| 31 | (a) For all governmental units, state aid paid pursuant to sections |  |  |  |  |  |  |  |  |  |

-5-

LB1010 	LB1010

2026 	2026

1 	60-3,202 and 77-3523 and reimbursement provided pursuant to section

2 	77-1239;

3 	(b) For municipalities, state aid to municipalities paid pursuant to

4 	sections 39-2501 to 39-2520, 60-3,190, and 77-27,139.04 and insurance

5 	premium tax paid to municipalities;

6 	(c) For counties, state aid to counties paid pursuant to sections

7 	60-3,184 to 60-3,190, insurance premium tax paid to counties, and

8 	reimbursements to counties from funds appropriated pursuant to section

9 	29-3933;

10 	(d) For community colleges, state aid to community colleges paid

11 	pursuant to the Community College Aid Act;

12 	(e) For educational service units, state aid appropriated under

13 	sections 79-1241.01 and 79-1241.03; and

14 	(f) For local public health departments as defined in section

15 	71-1626, state aid as distributed under section 71-1628.08.

16 	Sec. 6. Section 70-670, Reissue Revised Statutes of Nebraska, is

17 	amended to read:

18 	70-670 (1) In addition to any other rights and powers conferred upon

19 	any district organized under or subject to Chapter 70, article 6, each

20 	such district shall have and exercise the power of eminent domain to

21 	acquire from any person, firm, association, or private corporation any

22 	and all property owned, used, or operated, or useful for operation, in

23 	the generation, transmission, storage, or distribution of electrical

24 	energy, including an existing electric utility system or any part

25 	thereof. The procedure to condemn property shall be exercised in the

26 	manner set forth in Chapter 76, article 7.

27 	(2) In the case of the acquisition through the exercise of the power

28 	of eminent domain of an existing electric utility system or part thereof,

29 	the Attorney General shall, upon request of any district, represent such

30 	district in the institution and prosecution of condemnation proceedings.

31 	After acquisition of an existing electric utility system through the

-6-

LB1010 	LB1010

2026 	2026

1 	exercise of the power of eminent domain, the district shall reimburse the

2 	state for all costs and expenses incurred in the condemnation proceedings

3 	by the Attorney General.

4 	(3) A district may agree to limit its exercise of the power of

5 	eminent domain to acquire a project which is a renewable energy

6 	generation facility producing electricity with wind and any related

7 	facilities.

8 	(4) No property owned, used, or operated as part of a privately

9 	developed renewable energy generation facility meeting the requirements

10 	of section 70-1014.02 shall be subject to eminent domain by any consumer-

11 	owned electric supplier operating in the State of Nebraska.

12 	Sec. 7. Section 70-704, Revised Statutes Cumulative Supplement,

13 	2024, is amended to read:

14 	70-704 Each corporation shall have power: (1) To sue and be sued,

15 	complain, and defend, in its corporate name; (2) to have perpetual

16 	succession unless a limited period of duration is stated in its articles

17 	of incorporation; (3) to adopt a corporate seal, which may be altered at

18 	pleasure, and to use it or a facsimile thereof, as required by law; (4)

19 	to generate, manufacture, purchase, acquire, and accumulate electric

20 	energy and to store, transmit, distribute, sell, furnish, and dispose of

21 	such electric energy; (5) to acquire, own, hold, use, exercise and, to

22 	the extent permitted by law, to sell, mortgage, pledge, hypothecate, and

23 	in any manner dispose of franchises, rights, privileges, licenses,

24 	rights-of-way, and easements necessary, useful, or appropriate; (6) to

25 	purchase, receive, lease as lessee, or in any other manner acquire, own,

26 	hold, maintain, sell, exchange, and use any and all real and personal

27 	property or any interest therein for the purposes expressed herein; (7)

28 	to borrow money and otherwise contract indebtedness, to issue its

29 	obligations therefor, and to secure the payment thereof by mortgage,

30 	pledge, or deed of trust of all or any of its property, assets,

31 	franchises, revenue, or income; (8) to sell and convey, mortgage, pledge,

-7-

LB1010 	LB1010

2026 	2026

1 	lease as lessor, and otherwise dispose of all or any part of its property

2 	and assets; (9) to have the same powers now exercised by law by public

3 	light and power districts or private corporations to use any of the

4 	streets, highways, or public lands of the state or its political

5 	subdivisions in the manner provided by law; (10) to have and exercise the

6 	power of eminent domain for the purposes expressed in section 70-703 in

7 	the manner set forth in sections 76-704 to 76-724 and to have the powers

8 	and be subject to the restrictions of electric light and power

9 	corporations and districts as regards the use and occupation of public

10 	highways and the manner or method of construction and physical operation

11 	of plants, systems, and transmission lines; (11) to accept gifts or

12 	grants of money, services, or property, real or personal; (12) to make

13 	any and all contracts necessary or convenient for the exercise of the

14 	powers granted herein; (13) to fix, regulate, and collect rates, fees,

15 	rents, or other charges for electric energy furnished by the corporation;

16 	(14) to elect or appoint officers, agents, and employees of the

17 	corporation and to define their duties and fix their compensation; (15)

18 	to make and alter bylaws not inconsistent with the articles of

19 	incorporation or with the laws of this state for the administration and

20 	regulation of the affairs of the corporation; (16) to sell, lease, or

21 	license its dark fiber pursuant to sections 86-574 to 86-578; and (17) to

22 	do and perform, either for itself or its members or for any other

23 	corporation organized under the Electric Cooperative Corporation Act or

24 	for the members thereof, any and all acts and things and to have and

25 	exercise any and all powers as may be necessary, convenient, or

26 	appropriate to effectuate the purpose for which the corporation is

27 	organized. Notwithstanding any law, ordinance, resolution, or regulation

28 	of any political subdivision to the contrary, each corporation may

29 	receive funds and extend loans pursuant to the Nebraska Investment

30 	Finance Authority Act.

31 	Sec. 8. Section 70-1001.01, Revised Statutes Supplement, 2025, is

-8-

LB1010 	LB1010

2026 	2026

1 	amended to read:

2 	70-1001.01 For purposes of sections 70-1001 to 70-1028.02, unless

3 	the context otherwise requires:

4 	(1) Associated energy storage resource means any energy storage

5 	resource that:

6 	(a) Is located on the premises of a privately developed renewable

7 	energy generation facility;

8 	(b) Has the primary purpose of storing the electric energy produced

9 	at such facility; and

10 	(c) Has a maximum limit of electricity output that, aggregated with

11 	a co-located generation facility, is collectively limited to the

12 	nameplate capacity of such generation facility;

13 	(2) (1) Board means the Nebraska Power Review Board;

14 	(3) (2) Commercial electric vehicle charging station means equipment

15 	designed to provide electricity for a fee for the charging of an electric

16 	vehicle or a plug-in hybrid electric vehicle, including an electric

17 	vehicle direct-current charger or a super-fast charger, any successor

18 	technology, and all components thereof. Commercial electric vehicle

19 	charging station does not include the residence of a person where an

20 	electric vehicle or a plug-in hybrid electric vehicle is charged if no

21 	customer usage fee is charged;

22 	(4) (3) Commercial electric vehicle charging station operator means

23 	a person, partnership, corporation, or other business entity or political

24 	subdivision that operates a commercial electric vehicle charging station;

25 	(5) (4) Direct-current, fast-charging station means a publicly

26 	available charging system capable of delivering at least fifty kilowatts

27 	of direct-current electrical power to an electric vehicle's rechargeable

28 	battery at a voltage of two hundred volts or greater;

29 	(6) (5) Direct-current, fast-charging station operator means a

30 	person, partnership, corporation, or other business entity that operates

31 	a direct-current, fast-charging station open to the public. The term does

-9-

LB1010 	LB1010

2026 	2026

1 	not include an electric supplier or a political subdivision;

2 	(7) (6) Electric supplier or supplier of electricity means any legal

3 	entity supplying, producing, storing, or distributing electricity within

4 	the state for sale at wholesale or retail. Electric supplier does not

5 	include a commercial electric vehicle charging station operator that is a

6 	private 	person 	or 	privately owned 	partnership, 	privately 	owned

7 	corporation, or other privately owned business;

8 	(8) (7) Electronic-related means relating to electronic devices,

9 	circuits, or similar systems, or the components of such electronic

10 	devices, circuits, or similar systems, that require electrical currents

11 	or electromagnetism to operate;

12 	(9) Energy storage resource means a facility that is capable of

13 	receiving electric energy from the electrical grid, or from a generation

14 	source with which such facility is associated, and capable of storing

15 	such energy for later injection into the electrical grid. Energy storage

16 	resource does not include any device or equipment that is intended solely

17 	to inject or absorb reactive power, including any capacitor or

18 	synchronous condenser, or any equipment that is intended solely to

19 	provide electric energy for electric vehicles;

20 	(10) (8) Foreign adversary means a foreign government or foreign

21 	nongovernment person determined to be a foreign adversary pursuant to 15

22 	C.F.R. 791.4, as such regulation existed on February 7, 2025;

23 	(11) (9) Military installation means:

24 	(a) A United States Air Force ballistic missile silo located within

25 	the geographic area described in 31 C.F.R. 802.211(b)(3), as such

26 	regulation existed on January 1, 2025; or

27 	(b) A United States Air Force base described in 31 C.F.R.

28 	802.227(c), as such regulation existed on January 1, 2025;

29 	(12) (10) Plug-in hybrid electric vehicle has the same meaning as in

30 	section 60-345.01;

31 	(13) (11) Private electric supplier means an electric supplier that

-10-

LB1010 	LB1010

2026 	2026

1 	produces or stores producing electricity from a privately developed

2 	renewable energy generation facility or energy storage resource that is

3 	not a public power district, a public power and irrigation district, a

4 	municipality, a 	registered 	group 	of 	municipalities, 	an 	electric

5 	cooperative, an electric membership association, any other governmental

6 	entity, or any combination thereof. A private electric supplier is

7 	limited to the development of energy storage resources and privately

8 	developed renewable energy generation facilities those facilities as

9 	provided in subdivision (12) of this section;

10 	(14) (12) Privately developed renewable energy generation facility

11 	means and is limited to a facility that (a) generates electricity using

12 	solar, wind, geothermal, biomass, landfill gas, or biogas, including all

13 	associated energy storage resources of the facility and all electrically

14 	connected equipment used to produce, collect, and store the facility

15 	output up to and including the transformer that steps up the voltage to

16 	sixty thousand volts or greater, and including supporting structures,

17 	buildings, and roads, unless otherwise agreed to in a joint transmission

18 	development agreement, (b) is developed, constructed, and owned, in whole

19 	or in part, by one or more private electric suppliers, and (c) is not

20 	wholly owned by a public power district, a public power and irrigation

21 	district, a municipality, a registered group of municipalities, an

22 	electric cooperative, an electric membership association, any other

23 	governmental entity, or any combination thereof;

24 	(15) (13) Regional transmission organization means an entity

25 	independent from those entities generating or marketing electricity at

26 	wholesale or retail, which has operational control over the electric

27 	transmission lines in a designated geographic area in order to reduce

28 	constraints in the flow of electricity and ensure that all power

29 	suppliers have open access to transmission lines for the transmission of

30 	electricity;

31 	(16) (14) Reliable or reliability means the ability of an electric

-11-

LB1010 	LB1010

2026 	2026

1 	supplier to supply the aggregate electric power and energy requirements

2 	of its electricity consumers in Nebraska at all times under normal

3 	operating conditions, taking into account scheduled and unscheduled

4 	outages, including sudden disturbances or unanticipated loss of system

5 	components that are to be reasonably expected for any electric utility

6 	following prudent 	utility 	practices, 	recognizing 	certain 	weather

7 	conditions and other contingencies may cause outages at the distribution,

8 	transmission, and generation level;

9 	(17) (15) 	Representative 	organization 	means 	an 	organization

10 	designated by the board and organized for the purpose of providing joint

11 	planning and encouraging maximum cooperation and coordination among

12 	electric suppliers. Such organization shall represent electric suppliers

13 	owning a combined electric generation plant accredited capacity of at

14 	least ninety percent of the total electric generation plant accredited

15 	capacity constructed and in operation within the state;

16 	(18) (16) State means the State of Nebraska; and

17 	(19) (17) Unbundled retail rates means the separation of utility

18 	bills into the individual price components for which an electric supplier

19 	charges its retail customers, including, but not limited to, the separate

20 	charges 	for 	the 	generation, 	transmission, 	and 	distribution 	of

21 	electricity.

22 	Sec. 9. Section 70-1012, Revised Statutes Supplement, 2025, is

23 	amended to read:

24 	70-1012 (1) Before any electric generation facilities, any energy

25 	storage resources, or any transmission lines or related facilities

26 	carrying more than seven hundred volts are constructed or acquired by any

27 	supplier, an application, filed with the board and containing such

28 	information as the board shall prescribe, shall be approved by the board,

29 	except that such approval shall not be required (a) for the construction

30 	or acquisition of a transmission line extension or related facilities

31 	within a supplier's own service area or for the construction or

-12-

LB1010 	LB1010

2026 	2026

1 	acquisition of a line not exceeding one-half mile outside its own service

2 	area when all owners of electric lines located within one-half mile of

3 	the extension consent thereto in writing and such consents are filed with

4 	the board, (b) for any generation facility when the board finds that (i)

5 	such facility is being constructed or acquired to replace a generating

6 	plant owned by an individual municipality or registered group of

7 	municipalities with a capacity not greater than that of the plant being

8 	replaced, (ii) such facility will generate less than twenty-five thousand

9 	kilowatts of electric energy at rated capacity, and (iii) the applicant

10 	will not use the plant or transmission capacity to supply wholesale power

11 	to customers outside the applicant's existing retail service area or

12 	chartered territory, (c) for acquisition of transmission lines or related

13 	facilities, within the state, carrying one hundred fifteen thousand volts

14 	or less, if the current owner of the transmission lines or related

15 	facilities notifies the board of the lines or facilities involved in the

16 	transaction and the parties to the transaction, or (d) for the

17 	construction of a qualified facility as defined in section 70-2002.

18 	(2)(a) Before any electric supplier commences construction of or

19 	acquires an electric generation facility, energy storage resource, or

20 	transmission lines or related facilities carrying more than seven hundred

21 	volts that will be or are located within a ten-mile radius of a military

22 	installation, the owner of such facility, resource, transmission lines,

23 	or related facilities shall provide written notice certifying to the

24 	board that such facility, resource, or facilities contain no electronic-

25 	related equipment or electronic-related components manufactured by any

26 	foreign adversary.

27 	(b) Any electric supplier that supplies, produces, stores, or

28 	distributes supplying, producing, or distributing electricity within the

29 	state for sale at retail is exempt from subdivision (a) of this

30 	subsection if it is in compliance with the critical infrastructure

31 	protection requirements issued by the North American Electric Reliability

-13-

LB1010 	LB1010

2026 	2026

1 	Corporation. To receive such exemption, the electric supplier shall

2 	submit written notice to the board certifying that it is in such

3 	compliance. The electric supplier shall also submit written notice to the

4 	board at any time such supplier is no longer in such compliance.

5 	(3)(a) Before any electric supplier that is not exempt from

6 	subdivision (2)(a) of this section commences construction of or acquires

7 	an electric generation facility or transmission lines or related

8 	facilities carrying more than seven hundred volts that will be or are

9 	located within a ten-mile radius of a military installation, the electric

10 	supplier shall, following consultation with such supplier's vendors,

11 	submit a one-time written notice to the board certifying that such

12 	facility or 	facilities 	continually 	contain 	no 	electronic-related

13 	equipment or electronic-related components manufactured by any foreign

14 	adversary.

15 	(b) The electric supplier shall also submit written notice to the

16 	board at any time such facility or facilities are no longer in compliance

17 	with the certification provided under subdivision (a) of this subsection.

18 	(4) Notwithstanding subsections (2) and (3) of this section, an

19 	electric supplier required to provide certification under subsection (2)

20 	of this section may use electronic-related equipment or electronic-

21 	related components manufactured by a foreign adversary if the board

22 	preapproves the use of such equipment or components after finding that:

23 	(a) There is no other reasonable option for procuring such equipment

24 	or components; and

25 	(b) Not procuring or using such equipment or components would cause

26 	a greater harm to the state or residents of the state than the harm

27 	associated with the equipment or components.

28 	(5) Before any private electric supplier commences construction or

29 	acquires an energy storage resource or related facilities, the owners of

30 	such resource or proposed resource shall file an application with the

31 	board that contains the information prescribed by the board and shall

-14-

| LB1010 |  |  |  |  |  |  |  |  |  |  | LB1010 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | obtain approval of such application by the board. Such application shall |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | include evidence that demonstrates to the board that: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | (a) The private electric supplier has entered into or, prior to |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | construction, will enter into a power purchase agreement or similar |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | contractual agreement with a Nebraska public power district, public power |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | and | irrigation |  |  |  |  | district, |  |  | municipality, |  |  |  | registered |  |  |  | group |  |  | of |
| 7 | municipalities, electric cooperative, or electric membership association, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | any other governmental entity, or any combination thereof for purchase of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | all electric energy and electric capacity of such resource and will |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | maintain a contractual relationship throughout the operational life of |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | the resource; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | (b) The private electric supplier has obtained written consent from |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 | each electric supplier that will have any part of the energy storage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | resource located in its chartered territory or retail service area and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | any other electric supplier that will be interconnected with the private |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | electric supplier at a substation or switchyard that contains facilities |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | rated at one hundred kilovolts or greater. Any written consent that is |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | required under this subdivision shall be provided on a form that is |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | prescribed by the board. Such written consent shall be filed with the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | board with the application; and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | (c) The private electric supplier has entered into a joint |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | transmission development agreement with the consumer-owned electric |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | supplier that owns the transmission facilities that will interconnect |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | with |  | the | energy |  |  |  | storage | resource. |  |  | The | agreement |  |  |  | shall |  |  | address |  |
| 25 | construction, ownership, operation, and maintenance of such additions or |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | upgrades to the transmission facilities as required for the energy |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 27 | storage resource. The joint transmission development agreement shall be |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | negotiated |  |  |  | and | executed |  |  | contemporaneously |  |  |  |  |  | with | the |  |  | generator |  |  |
| 29 | interconnection agreement or any other directive of the applicable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | regional transmission organization with jurisdiction over the addition or |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 | upgrade of transmission. The terms of such agreement shall be consistent |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

-15-

| LB1010 |  |  |  |  | LB1010 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |
| 1 | with prudent electric utility practices for the interconnection of the |  |  |  |  |  |  |  |
| 2 | energy | storage | resource, | the |  | consumer-owned | electric | supplier's |
| 3 | reasonable transmission interconnection requirements, and applicable |  |  |  |  |  |  |  |
| 4 | transmission design and construction standards. The consumer-owned |  |  |  |  |  |  |  |
| 5 | electric supplier shall have the right to purchase and own transmission |  |  |  |  |  |  |  |
| 6 | facilities as set forth in the joint transmission development agreement. |  |  |  |  |  |  |  |
| 7 | The private electric supplier that owns the energy storage resource shall |  |  |  |  |  |  |  |
| 8 | have the right to construct any necessary facility or improvement set |  |  |  |  |  |  |  |
| 9 | forth in the joint transmission development agreement pursuant to the |  |  |  |  |  |  |  |
| 10 | standards set forth in the agreement at the private electric supplier's |  |  |  |  |  |  |  |
| 11 | cost. |  |  |  |  |  |  |  |
| 12 | (6) Nothing in this section shall be construed to limit the |  |  |  |  |  |  |  |
| 13 | authority of or require an electric supplier that is operating in this |  |  |  |  |  |  |  |
| 14 | state to enter into a joint agreement with a private electric supplier to |  |  |  |  |  |  |  |
| 15 | develop, construct, or jointly own a generation facility or energy |  |  |  |  |  |  |  |
| 16 | storage resource. |  |  |  |  |  |  |  |
| 17 | (7) Nothing in this section shall be construed to authorize a |  |  |  |  |  |  |  |
| 18 | private electric supplier to: |  |  |  |  |  |  |  |
| 19 | (a) Sell or deliver electricity at retail in Nebraska; |  |  |  |  |  |  |  |
| 20 | (b) Own or operate distribution facilities intended to provide |  |  |  |  |  |  |  |
| 21 | retail electric service in this state; or |  |  |  |  |  |  |  |
| 22 | (c) Have or use the power of eminent domain in this state. |  |  |  |  |  |  |  |
| 23 | (8) An energy storage resource that is not an associated energy |  |  |  |  |  |  |  |
| 24 | resource and has been approved by the board shall be exempt from the use |  |  |  |  |  |  |  |
| 25 | of eminent domain by any electric supplier. |  |  |  |  |  |  |  |
| 26 | (9) (5) A privately developed renewable energy generation facility |  |  |  |  |  |  |  |
| 27 | is exempt from this section if it complies with section 70-1014.02. |  |  |  |  |  |  |  |
| 28 | Sec. 10. Section 70-1012.01, Reissue Revised Statutes of Nebraska, |  |  |  |  |  |  |  |
| 29 | is amended to read: |  |  |  |  |  |  |  |
| 30 | 70-1012.01 (1) If a supplier terminates construction or acquisition |  |  |  |  |  |  |  |
| 31 | of electric generation or transmission facilities or energy storage |  |  |  |  |  |  |  |

-16-

LB1010 	LB1010

2026 	2026

1 	resources after receiving approval for the facilities or resources from

2 	the board, the supplier shall file with the board, within thirty days

3 	after the action taken to terminate construction or acquisition, a

4 	statement of the factors or reasons relied upon by the supplier in taking

5 	such action. Within ten days after receipt of such a filing, the board

6 	shall give notice of the filing to such other suppliers as it deems

7 	interested or affected by such action and it shall hold a hearing for the

8 	purpose of obtaining such additional information as the board deems

9 	advisable or necessary to inform other suppliers and the public of the

10 	reasons for such termination. Notice of any such hearing shall be given

11 	to those suppliers previously given notice of the filing and to any other

12 	parties expressing interest in the approved application.

13 	(2) The board shall not have authority to approve or deny the action

14 	of a supplier terminating construction or acquisition, and any such

15 	filing or hearing shall be advisory and solely for the purpose of

16 	informing the board, other suppliers, interested parties, and the

17 	ratepayers of this state of the factors or reasons relied upon in taking

18 	action to terminate construction or acquisition.

19 	(3) Nothing in this section shall constitute or be construed as a

20 	defense to any cause of action, including a claim for breach of contract,

21 	resulting from such termination.

22 	(4) A privately developed renewable energy generation facility is

23 	exempt from this section if it complies with section 70-1014.02.

24 	Sec. 11. Section 70-1015, Revised Statutes Supplement, 2025, is

25 	amended to read:

26 	70-1015 (1) If any supplier violates Chapter 70, article 10, by

27 	either (a) commencing the construction or finalizing or attempting to

28 	finalize the acquisition of any generation facilities, any energy storage

29 	resources, any transmission lines, or any related facilities without

30 	first providing notice or obtaining board approval, whichever is

31 	required, or (b) serving or attempting to serve at retail any customers

-17-

LB1010 	LB1010

2026 	2026

1 	located in Nebraska or any wholesale customers in violation of section

2 	70-1002.02, such construction, acquisition, or service of such customers

3 	shall be enjoined in an action brought in the name of the State of

4 	Nebraska until such supplier has complied with Chapter 70, article 10.

5 	(2) If the executive director of the board determines that a private

6 	electric supplier commenced construction of a privately developed

7 	renewable energy generation facility less than thirty days prior to

8 	providing the notice and certification required in subdivisions (2)(a)

9 	and (b) of section 70-1014.02, the executive director shall send notice

10 	via certified mail to the private electric supplier, informing it of the

11 	determination that the private electric supplier is in violation of such

12 	subdivisions and is subject to a fine in the amount of five hundred

13 	dollars. The private electric supplier shall have twenty days from the

14 	date on which the notice is received in which to submit the notice and

15 	certification described in such subdivisions and to pay the fine. Within

16 	ten days after the private electric supplier submits a notice and

17 	certification compliant with subsection (2) of section 70-1014.02 and

18 	payment of the fine, the executive director of the board shall issue the

19 	written acknowledgment described in subsection (3) of section 70-1014.02.

20 	If the private electric supplier fails to submit a notice and

21 	certification compliant with subsection (2) of section 70-1014.02 and pay

22 	the fine within twenty days after the date on which the private electric

23 	supplier receives the notice from the executive director of the board,

24 	the private electric supplier shall immediately cease construction or

25 	operation of the privately developed renewable energy generation facility

26 	and any associated energy storage resource.

27 	(3) If the private electric supplier disputes that construction was

28 	commenced less than thirty days prior to submitting the written notice

29 	and certification required by subdivisions (2)(a) and (b) of section

30 	70-1014.02, the private electric supplier may request a hearing before

31 	the board. Such request shall be submitted within twenty days after the

-18-

LB1010 	LB1010

2026 	2026

1 	private electric supplier receives the notice sent by the executive

2 	director pursuant to subsection (2) of this section. If the private

3 	electric supplier does not accept the certified mail sent pursuant to

4 	such subsection, the executive director shall send a second notice to the

5 	private electric supplier by first-class United States mail. The private

6 	electric supplier may submit a request for hearing within twenty days

7 	after the date on which the second notice was mailed.

8 	(4) Upon receipt of a request for hearing, the board shall set a

9 	hearing date. Such hearing shall be held within sixty days after such

10 	receipt. The board shall provide to the private electric supplier written

11 	notice of the hearing at least twenty days prior to the date of the

12 	hearing. The board or its hearing officer may grant continuances upon

13 	good cause shown or upon the request of the private electric supplier.

14 	Timely filing of a request for hearing by a private electric supplier

15 	shall stay any further enforcement under this section until the board

16 	issues an order pursuant to subsection (5) of this section or the request

17 	for hearing is withdrawn.

18 	(5) The board shall issue a written decision within sixty days after

19 	conclusion of the hearing. All costs of the hearing shall be paid by the

20 	private electric supplier if (a) the board determines that the private

21 	electric supplier commenced construction of the privately developed

22 	renewable energy generation facility and any associated energy storage

23 	resource less than thirty days prior to submitting the written notice and

24 	certification required pursuant to subsection (2) of section 70-1014.02

25 	or (b) the private electric supplier withdraws its request for hearing

26 	prior to the board issuing its decision.

27 	(6) A private electric supplier which the board finds to be in

28 	violation of the requirements of subsection (2) of section 70-1014.02

29 	shall either (a) pay the fine described in this section and submit a

30 	notice and certification compliant with subsection (2) of section

31 	70-1014.02 or (b) immediately cease construction or operation of the

-19-

LB1010 	LB1010

2026 	2026

1 	privately developed renewable energy generation facility and any

2 	associated energy storage resource.

3 	Sec. 12. Section 70-1506, Revised Statutes Supplement, 2025, is

4 	amended to read:

5 	70-1506 (1) For purposes of this section:

6 	(a) Cryptocurrency mining means validating transactions for addition

7 	to a blockchain distributed ledger;

8 	(b) Cryptocurrency mining operation means any facility of one

9 	megawatt in size or greater that conducts cryptocurrency mining; and

10 	(c) Data center means a facility:

11 	(i) The primary services of which are the storage, management, and

12 	processing of digital data;

13 	(ii) That is used to house computer and network systems, including

14 	associated components such as servers, network equipment and appliances,

15 	telecommunications systems, data storage systems, systems for monitoring

16 	and managing infrastructure performance, Internet-related equipment and

17 	services, data communications connections, environmental controls, fire

18 	protection systems, and security systems and services; and

19 	(iii) That has a peak electricity demand of ten megawatts or more;

20 	and

21 	(d) (c) Public power supplier means a public power district,

22 	municipal electric utility, or any other government entity providing

23 	electric service.

24 	(2) A public power supplier may impose requirements on any

25 	cryptocurrency mining operation or data center for the cost of

26 	infrastructure upgrades necessitated by such operation or center

27 	operations, including, but not limited to:

28 	(a) Requiring direct payment or a letter of credit from such

29 	operation or center for such cost; or

30 	(b) Imposing terms and conditions on such operation or center that

31 	require the operation or center to pay the full cost of providing

-20-

LB1010 	LB1010

2026 	2026

1 	electric service and ensure no cost is passed on to other retail

2 	customers.

3 	(3) Requirements imposed pursuant to this section shall be fair,

4 	reasonable, and not unduly discriminatory.

5 	(4) Before any requirement is imposed pursuant to this section, the

6 	public power supplier shall conduct a load study to determine the costs,

7 	impacts, and infrastructure upgrades necessitated by the cryptocurrency

8 	mining operation or data center.

9 	(5) Any person intending to install a cryptocurrency mining

10 	operation or data center is responsible for notifying the local public

11 	power supplier of such intent, and such operation or center is subject to

12 	the interconnection requirements of such supplier.

13 	(6) The owner or operator of a data center shall submit an annual

14 	report to the Department of Water, Energy, and Environment and the

15 	Natural Resources Committee of the Legislature on or before September 30

16 	of each year that includes the following:

17 	(a) The name of the data center;

18 	(b) The names of the developers and owners of the data center;

19 	(c) The physical size of the data center in square feet;

20 	(d) The location of the data center, including street address and

21 	county;

22 	(e) The annual electricity demand of the data center;

23 	(f) The annual water usage of the data center;

24 	(g) The sales and use tax exemptions the data center utilizes or

25 	expects to utilize;

26 	(h) Any incentive payments for the data center under the ImagiNE

27 	Nebraska Act and the Nebraska Advantage Act;

28 	(i) All energy efficiency, load management, and conservation

29 	measures implemented by the data center;

30 	(j) All commitments by the data center to use renewable energy; and

31 	(k) The service life of the data center.

-21-

LB1010 	LB1010

2026 	2026

1 	(7) The owner or operator of a data center shall:

2 	(a) Bear all decommissioning costs of such data center; and

3 	(b) Enter into a community benefit agreement with communities

4 	affected by the data center.

5 	(8) (6) Each public power supplier shall make available to the

6 	public on the supplier's website the number of cryptocurrency mining

7 	operations under the jurisdiction of the supplier and the annual energy

8 	usage of each operation.

9 	(9) (7) A cryptocurrency mining operation shall allow a public power

10 	supplier to interrupt such operation's electric service according to such

11 	supplier's established rate schedules and policies.

12 	Sec. 13. Section 77-202, Revised Statutes Supplement, 2025, is

13 	amended to read:

14 	77-202 (1) The following property shall be exempt from property

15 	taxes:

16 	(a) Property of the state and its governmental subdivisions to the

17 	extent used or being developed for use by the state or governmental

18 	subdivision for a public purpose. For purposes of this subdivision:

19 	(i) Property of the state and its governmental subdivisions means

20 	(A) property held in fee title by the state or a governmental subdivision

21 	or (B) property beneficially owned by the state or a governmental

22 	subdivision in that it is used for a public purpose and is being acquired

23 	under a lease-purchase agreement, financing lease, or other instrument

24 	which provides for transfer of legal title to the property to the state

25 	or a governmental subdivision upon payment of all amounts due thereunder.

26 	If the property to be beneficially owned by a governmental subdivision

27 	has a total acquisition cost that exceeds the threshold amount or will be

28 	used as the site of a public building with a total estimated construction

29 	cost that exceeds the threshold amount, then such property shall qualify

30 	for an exemption under this section only if the question of acquiring

31 	such property or constructing such public building has been submitted at

-22-

LB1010 	LB1010

2026 	2026

1 	a primary, general, or special election held within the governmental

2 	subdivision and has been approved by the voters of the governmental

3 	subdivision. For purposes of this subdivision, threshold amount means the

4 	greater of fifty thousand dollars or six-tenths of one percent of the

5 	total actual value of real and personal property of the governmental

6 	subdivision that will beneficially own the property as of the end of the

7 	governmental subdivision's prior fiscal year; and

8 	(ii) Public purpose means use of the property (A) to provide public

9 	services with or without cost to the recipient, including the general

10 	operation of government, public education, public safety, transportation,

11 	public works, civil and criminal justice, public health and welfare,

12 	developments by a public housing authority, parks, culture, recreation,

13 	community development, and cemetery purposes, or (B) to carry out the

14 	duties 	and 	responsibilities 	conferred 	by 	law 	with 	or 	without

15 	consideration. Public purpose does not include leasing of property to a

16 	private party unless the lease of the property is at fair market value

17 	for a public purpose. Leases of property by a public housing authority to

18 	low-income individuals as a place of residence are for the authority's

19 	public purpose;

20 	(b) Unleased property of the state or its governmental subdivisions

21 	which is not being used or developed for use for a public purpose but

22 	upon which a payment in lieu of taxes is paid for public safety, rescue,

23 	and emergency services and road or street construction or maintenance

24 	services to all governmental units providing such services to the

25 	property. Except as provided in Article VIII, section 11, of the

26 	Constitution of Nebraska, the payment in lieu of taxes shall be based on

27 	the proportionate share of the cost of providing public safety, rescue,

28 	or emergency services and road or street construction or maintenance

29 	services unless a general policy is adopted by the governing body of the

30 	governmental subdivision providing such services which provides for a

31 	different method of determining the amount of the payment in lieu of

-23-

LB1010 	LB1010

2026 	2026

1 	taxes. The governing body may adopt a general policy by ordinance or

2 	resolution for determining the amount of payment in lieu of taxes by

3 	majority vote after a hearing on the ordinance or resolution. Such

4 	ordinance or resolution shall nevertheless result in an equitable

5 	contribution for the cost of providing such services to the exempt

6 	property;

7 	(c) Property owned by and used exclusively for agricultural and

8 	horticultural societies;

9 	(d)(i) Property owned by educational, religious, charitable, or

10 	cemetery organizations, or any organization for the exclusive benefit of

11 	any such educational, religious, charitable, or cemetery organization,

12 	and used exclusively for educational, religious, charitable, or cemetery

13 	purposes, when such property is not (A) owned or used for financial gain

14 	or profit to either the owner or user, (B) used for the sale of alcoholic

15 	liquors for more than twenty hours per week, or (C) owned or used by an

16 	organization which discriminates in membership or employment based on

17 	race, color, or national origin.

18 	(ii) For purposes of subdivision (1)(d) of this section:

19 	(A) Educational organization means (I) an institution operated

20 	exclusively for the purpose of offering regular courses with systematic

21 	instruction in academic, vocational, or technical subjects or assisting

22 	students through services relating to the origination, processing, or

23 	guarantying of federally reinsured student loans for higher education,

24 	(II) a museum or historical society operated exclusively for the benefit

25 	and education of the public, or (III) a nonprofit organization that owns

26 	or operates a child care facility; and

27 	(B) Charitable organization includes (I) an organization operated

28 	exclusively for the purpose of the mental, social, or physical benefit of

29 	the public or an indefinite number of persons and (II) a fraternal

30 	benefit society organized and licensed under sections 44-1072 to

31 	44-10,109.

-24-

LB1010 	LB1010

2026 	2026

1 	(iii) The property tax exemption authorized in subdivision (1)(d)(i)

2 	of this section shall apply to any for-profit skilled nursing facility,

3 	for-profit nursing facility, or for-profit assisted-living facility that

4 	provides housing for medicaid beneficiaries, except that the exemption

5 	amount for such property shall be a percentage of the property taxes that

6 	would otherwise be due. Such percentage shall be equal to the average

7 	percentage of occupied beds in the facility provided to medicaid

8 	beneficiaries over the most recent three-year period. This subdivision

9 	shall not be construed to modify, limit, or reduce any property tax

10 	exemption provided to a nonprofit skilled nursing facility, nonprofit

11 	nursing facility, or nonprofit assisted-living facility pursuant to

12 	subdivision (1)(d)(i) of this section. For purposes of this subdivision,

13 	skilled nursing facility has the same meaning as in section 71-429,

14 	nursing facility has the same meaning as in section 71-424, and assisted-

15 	living facility has the same meaning as in section 71-5903.

16 	(iv) The property tax exemption authorized in subdivision (1)(d)(i)

17 	of this section shall apply to a building that (A) is owned by a

18 	charitable organization, (B) is made available to students in attendance

19 	at an educational institution, and (C) is recognized by such educational

20 	institution as approved student housing, except that the exemption shall

21 	only apply to the commons area of such building, including any common

22 	rooms and cooking and eating facilities;

23 	(e) Household goods and personal effects not owned or used for

24 	financial gain or profit to either the owner or user; and

25 	(f) A portion of the property owned by a taxpayer as provided in the

26 	Recreational Trail Easement Property Tax Exemption Act.

27 	(2) The increased value of land by reason of shade and ornamental

28 	trees planted along the highway shall not be taken into account in the

29 	valuation of land.

30 	(3) Tangible personal property which is not depreciable tangible

31 	personal property as defined in section 77-119 shall be exempt from

-25-

LB1010 	LB1010

2026 	2026

1 	property tax.

2 	(4) Motor vehicles, trailers, and semitrailers required to be

3 	registered for operation on the highways of this state shall be exempt

4 	from payment of property taxes.

5 	(5) Business and agricultural inventory shall be exempt from the

6 	personal property tax. For purposes of this subsection, business

7 	inventory includes personal property owned for purposes of leasing or

8 	renting such property to others for financial gain only if the personal

9 	property is of a type which in the ordinary course of business is leased

10 	or rented thirty days or less and may be returned at the option of the

11 	lessee or renter at any time and the personal property is of a type which

12 	would be considered household goods or personal effects if owned by an

13 	individual. All other personal property owned for purposes of leasing or

14 	renting such property to others for financial gain shall not be

15 	considered business inventory.

16 	(6) Any personal property exempt pursuant to subsection (2) of

17 	section 77-4105 or section 77-5209.02 shall be exempt from the personal

18 	property tax.

19 	(7) Livestock shall be exempt from the personal property tax.

20 	(8) Any personal property exempt pursuant to the Nebraska Advantage

21 	Act or the ImagiNE Nebraska Act shall be exempt from the personal

22 	property tax.

23 	(9) Any depreciable tangible personal property used directly in the

24 	generation of electricity using wind as the fuel source shall be exempt

25 	from the property tax levied on depreciable tangible personal property.

26 	Any depreciable tangible personal property used directly in the

27 	generation of electricity using solar, biomass, or landfill gas as the

28 	fuel source shall be exempt from the property tax levied on depreciable

29 	tangible personal property if such depreciable tangible personal property

30 	was installed on or after January 1, 2016, and has a nameplate capacity

31 	of one hundred kilowatts or more. Depreciable tangible personal property

-26-

LB1010 	LB1010

2026 	2026

1 	used directly in the generation of electricity using wind, solar,

2 	biomass, or landfill gas as the fuel source includes, but is not limited

3 	to, wind turbines, rotors and blades, towers, solar panels, trackers,

4 	generating equipment, transmission components, substations, supporting

5 	structures or racks, inverters, and other system components such as

6 	wiring, control systems, switchgears, and generator step-up transformers.

7 	(10) Any depreciable tangible personal property used in the storage

8 	of electricity by an energy storage resource subject to the nameplate

9 	capacity tax levied under section 77-6203 shall be exempt from the

10 	property tax levied on depreciable tangible personal property.

11 	(11) (10) Any tangible personal property that is acquired by a

12 	person operating a data center located in this state, that is assembled,

13 	engineered, processed, fabricated, manufactured into, attached to, or

14 	incorporated into other tangible personal property, both in component

15 	form or that of an assembled product, for the purpose of subsequent use

16 	at a physical location outside this state by the person operating a data

17 	center shall be exempt from the personal property tax. Such exemption

18 	extends to keeping, retaining, or exercising any right or power over

19 	tangible personal property in this state for the purpose of subsequently

20 	transporting it outside this state for use thereafter outside this state.

21 	For purposes of this subsection, data center means computers, supporting

22 	equipment, and other organized assembly of hardware or software that are

23 	designed to centralize the storage, management, or dissemination of data

24 	and information, environmentally controlled structures or facilities or

25 	interrelated structures or facilities that provide the infrastructure for

26 	housing the equipment, such as raised flooring, electricity supply,

27 	communication and data lines, Internet access, cooling, security, and

28 	fire suppression, and any building housing the foregoing.

29 	(12) (11) For tax years prior to tax year 2020, each person who owns

30 	property required to be reported to the county assessor under section

31 	77-1201 shall be allowed an exemption amount as provided in the Personal

-27-

LB1010 	LB1010

2026 	2026

1 	Property Tax Relief Act. For tax years prior to tax year 2020, each

2 	person who owns property required to be valued by the state as provided

3 	in section 77-601, 77-682, 77-801, or 77-1248 shall be allowed a

4 	compensating exemption factor as provided in the Personal Property Tax

5 	Relief Act.

6 	(13)(a) (12)(a) Broadband equipment shall be exempt from the

7 	personal property tax if such broadband equipment is:

8 	(i) Deployed in an area funded in whole or in part by funds from the

9 	Broadband Equity, Access, and Deployment Program, authorized by the

10 	federal Infrastructure Investment and Jobs Act, Public Law 117-58; or

11 	(ii) Deployed in a qualified census tract located within the

12 	corporate limits of a city of the metropolitan class and being utilized

13 	to provide end-users with access to the Internet at speeds of at least

14 	one hundred megabits per second for downloading and at least one hundred

15 	megabits per second for uploading.

16 	(b) An owner of broadband equipment seeking an exemption under this

17 	section shall apply for an exemption to the county assessor on or before

18 	December 31 of the year preceding the year for which the exemption is to

19 	begin. If the broadband equipment meets the criteria described in this

20 	subsection, the county assessor shall approve the application within

21 	thirty calendar days after receiving the application. The application

22 	shall be on forms prescribed by the Tax Commissioner.

23 	(c) For purposes of this subsection:

24 	(i) Broadband 	communications 	service 	means 	telecommunications

25 	service as defined in section 86-121, video programming as defined in 47

26 	U.S.C. 522, as such section existed on January 1, 2024, or Internet

27 	access as defined in section 1104 of the federal Internet Tax Freedom

28 	Act, Public Law 105-277;

29 	(ii) Broadband equipment means machinery or equipment used to

30 	provide broadband communications service and includes, but is not limited

31 	to, wires, cables, fiber, conduits, antennas, poles, switches, routers,

-28-

LB1010 	LB1010

2026 	2026

1 	amplifiers, rectifiers, repeaters, receivers, multiplexers, duplexers,

2 	transmitters, circuit cards, insulating and protective materials and

3 	cases, power equipment, backup power equipment, diagnostic equipment,

4 	storage devices, modems, and other general central office or headend

5 	equipment, such as channel cards, frames, and cabinets, or equipment used

6 	in successor technologies, including items used to monitor, test,

7 	maintain, enable, 	or 	facilitate 	qualifying 	equipment, 	machinery,

8 	software, ancillary components, appurtenances, accessories, or other

9 	infrastructure that is used in whole or in part to provide broadband

10 	communications service. Machinery or equipment used to produce broadband

11 	communications service does not include personal consumer electronics,

12 	including, but not limited to, smartphones, computers, and tablets; and

13 	(iii) Qualified census tract means a qualified census tract as

14 	defined in 26 U.S.C. 42(d)(5)(B)(ii)(I), as such section existed on

15 	January 1, 2024.

16 	Sec. 14. Section 77-6202, Revised Statutes Cumulative Supplement,

17 	2024, is amended to read:

18 	77-6202 For purposes of sections 77-6201 to 77-6204:

19 	(1) Commissioned means the renewable energy generation facility or

20 	energy storage resource has been in commercial operation for at least

21 	twenty-four hours. A renewable energy generation facility is not in

22 	commercial operation unless the renewable energy generation facility is

23 	connected to the electrical grid or to the end user if the renewable

24 	energy generation facility is a customer-generator as defined in section

25 	70-2002;

26 	(2) Energy storage resource has the same meaning as in section

27 	70-1001.01;

28 	(3) (2) Nameplate capacity means the capacity of (a) a renewable

29 	energy generation facility to generate electricity as measured in

30 	megawatts, including fractions of a megawatt, or (b) an energy storage

31 	resource to store electricity as measured in megawatts, including

-29-

LB1010 	LB1010

2026 	2026

1 	fractions of a megawatt. Nameplate capacity shall be determined based on

2 	the facility's alternating current capacity of the facility or resource;

3 	and

4 	(4) (3) Renewable energy generation facility means (a) a facility

5 	that generates electricity using wind as the fuel source or (b) a

6 	facility that generates electricity using solar, biomass, or landfill gas

7 	as the fuel source if such facility was installed on or after January 1,

8 	2016, and has a nameplate capacity of one hundred kilowatts or more.

9 	Sec. 15. Section 77-6203, Revised Statutes Cumulative Supplement,

10 	2024, is amended to read:

11 	77-6203 (1)(a) (1) The owner of a renewable energy generation

12 	facility annually shall pay a nameplate capacity tax equal to the total

13 	nameplate capacity of the commissioned renewable energy generation

14 	facility multiplied by a tax rate of three thousand five hundred eighteen

15 	dollars per megawatt.

16 	(b) The owner of an energy storage resource with a nameplate

17 	capacity of one hundred kilowatts or more annually shall pay a nameplate

18 	capacity tax equal to the total nameplate capacity of the commissioned

19 	energy storage resource multiplied by a tax rate of three thousand five

20 	hundred eighteen dollars per megawatt.

21 	(2) No tax shall be imposed on a renewable energy generation

22 	facility or energy storage resource:

23 	(a) Owned or operated by the federal government, the State of

24 	Nebraska, a public power district, a public power and irrigation

25 	district, an 	individual 	municipality, 	a 	registered 	group 	of

26 	municipalities, an electric membership association, or a cooperative; or

27 	(b) That is a customer-generator as defined in section 70-2002.

28 	(3) No tax levied pursuant to this section shall be construed to

29 	constitute restricted funds as defined in section 13-518 for the first

30 	five years after the renewable energy generation facility or energy

31 	storage resource is commissioned.

-30-

LB1010 	LB1010

2026 	2026

1 	(4) The presence of one or more renewable energy generation

2 	facilities, energy storage resources subject to the nameplate capacity

3 	tax, or supporting infrastructure shall not be a factor in the

4 	assessment, determination of actual value, or classification under

5 	section 77-201 of the real property underlying or adjacent to such

6 	facilities, resources, or infrastructure.

7 	(5)(a) The Department of Revenue shall collect the tax due under

8 	this section.

9 	(b) The tax shall be imposed beginning the first calendar year the

10 	renewable energy generation facility is commissioned or the first

11 	calendar year the energy storage resource has a nameplate capacity of one

12 	hundred kilowatts or more. A renewable energy generation facility that

13 	uses wind as the fuel source which was commissioned prior to July 15,

14 	2010, shall be subject to the tax levied pursuant to sections 77-6201 to

15 	77-6204 on and after January 1, 2010. The amount of property tax on

16 	depreciable tangible personal property previously paid on a renewable

17 	energy generation facility that uses wind as the fuel source which was

18 	commissioned prior to July 15, 2010, which is greater than the amount

19 	that would have been paid pursuant to sections 77-6201 to 77-6204 from

20 	the date of commissioning until January 1, 2010, shall be credited

21 	against any tax due under Chapter 77, and any amount so credited that is

22 	unused in any tax year shall be carried over to subsequent tax years

23 	until fully utilized.

24 	(c)(i) The tax for the first calendar year shall be prorated based

25 	upon the number of days remaining in the calendar year after the

26 	renewable energy generation facility is commissioned or after the energy

27 	storage resource reaches nameplate capacity of one hundred kilowatts or

28 	more.

29 	(ii) In the first year in which a renewable energy generation

30 	facility or energy storage resource is taxed or in any year in which

31 	additional commissioned nameplate capacity is added to a renewable energy

-31-

LB1010 	LB1010

2026 	2026

1 	generation facility or energy storage resource, the taxes on the initial

2 	or additional nameplate capacity shall be prorated for the number of days

3 	remaining in the calendar year.

4 	(iii) When a renewable energy generation facility or energy storage

5 	resource is decommissioned or made nonoperational by a change in law

6 	during a tax year, the taxes shall be prorated for the number of days

7 	during which the renewable energy generation facility or energy storage

8 	resource was not decommissioned or was operational.

9 	(iv) When the capacity of a renewable energy generation facility or

10 	energy storage resource to produce or store electricity is reduced but

11 	the renewable energy generation facility or energy storage resource is

12 	not decommissioned, the nameplate capacity of the renewable energy

13 	generation facility or energy storage resource is deemed to be unchanged.

14 	(6)(a) On March 1 of each year, the owner of a renewable energy

15 	generation facility or an energy storage resource shall file with the

16 	Department of Revenue a report on the nameplate capacity of the facility

17 	or resource for the previous year from January 1 through December 31. All

18 	taxes shall be due on April 1 and shall be delinquent if not paid on a

19 	quarterly basis on April 1 and each quarter thereafter. Delinquent

20 	quarterly payments shall draw interest at the rate provided for in

21 	section 45-104.02, as such rate may from time to time be adjusted.

22 	(b) The owner of a renewable energy generation facility or energy

23 	storage resource is liable for the taxes under this section with respect

24 	to the facility or resource, whether or not the owner of the facility or

25 	resource is the owner of the land on which the facility or resource is

26 	situated.

27 	(7) Failure to file a report required by subsection (6) of this

28 	section, filing such report late, failure to pay taxes due, or

29 	underpayment of such taxes shall result in a penalty of five percent of

30 	the amount due being imposed for each quarter the report is overdue or

31 	the payment is delinquent, except that the penalty shall not exceed ten

-32-

LB1010 	LB1010

2026 	2026

1 	thousand dollars.

2 	(8) The Department of Revenue shall enforce the provisions of this

3 	section. The department may adopt and promulgate rules and regulations

4 	necessary for the implementation and enforcement of this section.

5 	(9) The Department of Revenue shall separately identify the proceeds

6 	from the tax imposed by this section and shall pay all such proceeds over

7 	to the county treasurer of the county where the renewable energy

8 	generation facility or energy storage resource is located within thirty

9 	days after receipt of such proceeds.

10 	Sec. 16. Section 77-6204, Revised Statutes Supplement, 2025, is

11 	amended to read:

12 	77-6204 (1) The county treasurer shall distribute all revenue

13 	received from the Department of Revenue pursuant to section 77-6203 as

14 	follows:

15 	(a) Five percent of such revenue shall be distributed to the

16 	community college area in which the renewable energy generation facility

17 	or energy storage resource is located; and

18 	(b) The remainder of such revenue shall be distributed to local

19 	taxing entities which, but for such personal property tax exemption,

20 	would have received distribution of personal property tax revenue from

21 	depreciable personal property used directly in the generation of

22 	electricity using wind, solar, biomass, or landfill gas as the fuel

23 	source or used in the storage of electricity by an energy storage

24 	resource.

25 	(2) A local taxing entity's status as eligible for distribution

26 	under subdivision (1)(b) of this section shall not be affected when and

27 	if (a) the net book value of personal property used directly in the

28 	generation of electricity using wind, solar, biomass, or landfill gas as

29 	the fuel source becomes zero or (b) the net book value of personal

30 	property used in the storage of electricity by an energy storage resource

31 	becomes zero.

-33-

LB1010 	LB1010

2026 	2026

1 	(3) A local taxing entity's status as eligible for distribution

2 	under such subdivision (1)(b) of this section shall be affected by (a)

3 	the disposal of all of the exempt depreciable personal property used

4 	directly in the generation of electricity using wind, solar, biomass, or

5 	landfill gas as the fuel source or (b) the disposal of all of the exempt

6 	depreciable personal property used in the storage of electricity by an

7 	energy storage resource.

8 	(4) (3) The distribution to each eligible local taxing entity under

9 	subdivision (1)(b) of this section shall be calculated by determining the

10 	amount of taxes that the eligible local taxing entity levied during the

11 	taxable year and dividing this amount by the total tax levied by all of

12 	the eligible local taxing entities during the year. Each eligible

13 	entity's resulting fraction shall then be multiplied by the amount of

14 	revenue available for distribution pursuant to subdivision (1)(b) of this

15 	section to determine the portion of such revenue due each local taxing

16 	entity.

17 	(5) (4) The Department of Revenue shall not retain any revenue

18 	collected pursuant to sections 77-6201 to 77-6204 for distribution, use,

19 	transfer, pledge, or allocation to or from the General Fund.

20 	Sec. 17.  Original sections 70-670 and 70-1012.01, Reissue Revised

21 	Statutes of Nebraska, sections 70-704, 77-6202, and 77-6203, Revised

22 	Statutes Cumulative Supplement, 2024, and sections 13-518, 70-1001.01,

23 	70-1012, 70-1015, 70-1506, 77-202, and 77-6204, Revised Statutes

24 	Supplement, 2025, are repealed.

-34-