LB1027 	LB1027

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1027

Introduced byStorm, 23; Clouse, 37; DeKay, 40; Sorrentino, 39; Strommen,

47.

Read first time January 13, 2026

Committee: Natural Resources

1 	A BILL FOR AN ACT relating to electricity; to amend sections 70-1012.01,

2 	70-1013, and 70-1014.01, Reissue Revised Statutes of Nebraska, and

3 	sections 70-1012, 70-1014, 70-1014.02, and 70-1015, Revised Statutes

4 	Supplement, 2025; to eliminate certain exemptions applicable to

5 	privately developed renewable energy generation facilities; to

6 	change requirements for the construction of privately developed

7 	renewable energy generation facilities; to harmonize provisions; and

8 	to repeal the original sections.

9 	Be it enacted by the people of the State of Nebraska,

-1-

LB1027 	LB1027

2026 	2026

1 	Section 1. Section 70-1012, Revised Statutes Supplement, 2025, is

2 	amended to read:

3 	70-1012 (1) Before any electric generation facilities or any

4 	transmission lines or related facilities carrying more than seven hundred

5 	volts are constructed or acquired by any supplier, an application, filed

6 	with the board and containing such information as the board shall

7 	prescribe, shall be approved by the board, except that such approval

8 	shall not be required (a) for the construction or acquisition of a

9 	transmission line extension or related facilities within a supplier's own

10 	service area or for the construction or acquisition of a line not

11 	exceeding one-half mile outside its own service area when all owners of

12 	electric lines located within one-half mile of the extension consent

13 	thereto in writing and such consents are filed with the board, (b) for

14 	any generation facility when the board finds that (i) such facility is

15 	being constructed or acquired to replace a generating plant owned by an

16 	individual municipality or registered group of municipalities with a

17 	capacity not greater than that of the plant being replaced, (ii) such

18 	facility will generate less than twenty-five thousand kilowatts of

19 	electric energy at rated capacity, and (iii) the applicant will not use

20 	the plant or transmission capacity to supply wholesale power to customers

21 	outside the applicant's existing retail service area or chartered

22 	territory, (c) for acquisition of transmission lines or related

23 	facilities, within the state, carrying one hundred fifteen thousand volts

24 	or less, if the current owner of the transmission lines or related

25 	facilities notifies the board of the lines or facilities involved in the

26 	transaction and the parties to the transaction, or (d) for the

27 	construction of a qualified facility as defined in section 70-2002.

28 	(2)(a) Before any electric supplier commences construction of or

29 	acquires an electric generation facility or transmission lines or related

30 	facilities carrying more than seven hundred volts that will be or are

31 	located within a ten-mile radius of a military installation, the owner of

-2-

LB1027 	LB1027

2026 	2026

1 	such facility, transmission lines, or related facilities shall provide

2 	written notice certifying to the board that such facility or facilities

3 	contain no electronic-related equipment or electronic-related components

4 	manufactured by any foreign adversary.

5 	(b) Any electric supplier supplying, producing, or distributing

6 	electricity within the state for sale at retail is exempt from

7 	subdivision (a) of this subsection if it is in compliance with the

8 	critical infrastructure protection requirements issued by the North

9 	American Electric Reliability Corporation. To receive such exemption, the

10 	electric supplier shall submit written notice to the board certifying

11 	that it is in such compliance. The electric supplier shall also submit

12 	written notice to the board at any time such supplier is no longer in

13 	such compliance.

14 	(3)(a) Before any electric supplier not exempt from subdivision (2)

15 	(a) of this section commences construction of or acquires an electric

16 	generation facility or transmission lines or related facilities carrying

17 	more than seven hundred volts that will be or are located within a ten-

18 	mile radius of a military installation, the electric supplier shall,

19 	following consultation with such supplier's vendors, submit a one-time

20 	written notice to the board certifying that such facility or facilities

21 	continually contain no electronic-related equipment or electronic-related

22 	components manufactured by any foreign adversary.

23 	(b) The electric supplier shall also submit written notice to the

24 	board at any time such facility or facilities are no longer in compliance

25 	with the certification provided under subdivision (a) of this subsection.

26 	(4) Notwithstanding subsections (2) and (3) of this section, an

27 	electric supplier required to provide certification under subsection (2)

28 	of this section may use electronic-related equipment or electronic-

29 	related components manufactured by a foreign adversary if the board

30 	preapproves the use of such equipment or components after finding that:

31 	(a) There is no other reasonable option for procuring such equipment

-3-

LB1027 	LB1027

2026 	2026

1 	or components; and

2 	(b) Not procuring or using such equipment or components would cause

3 	a greater harm to the state or residents of the state than the harm

4 	associated with the equipment or components.

5 	(5) A privately developed renewable energy generation facility is

6 	exempt from this section if it complies with section 70-1014.02.

7 	Sec. 2. Section 70-1012.01, Reissue Revised Statutes of Nebraska, is

8 	amended to read:

9 	70-1012.01 (1) If a supplier terminates construction or acquisition

10 	of electric generation or transmission facilities after receiving

11 	approval for the facilities from the board, the supplier shall file with

12 	the board, within thirty days after the action taken to terminate

13 	construction or acquisition, a statement of the factors or reasons relied

14 	upon by the supplier in taking such action. Within ten days after receipt

15 	of such a filing, the board shall give notice of the filing to such other

16 	suppliers as it deems interested or affected by such action and it shall

17 	hold a hearing for the purpose of obtaining such additional information

18 	as the board deems advisable or necessary to inform other suppliers and

19 	the public of the reasons for such termination. Notice of any such

20 	hearing shall be given to those suppliers previously given notice of the

21 	filing and to any other parties expressing interest in the approved

22 	application.

23 	(2) The board shall not have authority to approve or deny the action

24 	of a supplier terminating construction or acquisition, and any such

25 	filing or hearing shall be advisory and solely for the purpose of

26 	informing the board, other suppliers, interested parties, and the

27 	ratepayers of this state of the factors or reasons relied upon in taking

28 	action to terminate construction or acquisition.

29 	(3) Nothing in this section shall constitute or be construed as a

30 	defense to any cause of action, including a claim for breach of contract,

31 	resulting from such termination.

-4-

LB1027 	LB1027

2026 	2026

1 	(4) A privately developed renewable energy generation facility is

2 	exempt from this section if it complies with section 70-1014.02.

3 	Sec. 3. Section 70-1013, Reissue Revised Statutes of Nebraska, is

4 	amended to read:

5 	70-1013  (1) Upon application being filed under section 70-1012, the

6 	board shall fix a time and place for hearing and shall give ten days'

7 	notice by mail to such power suppliers as it deems to be affected by the

8 	application. The hearing shall be held within sixty days unless for good

9 	cause shown the applicant requests in writing that such hearing not be

10 	scheduled until a later time, but in any event such hearing shall be held

11 	not more than one hundred twenty days after the filing of the application

12 	and the board shall give its decision within sixty days after the

13 	conclusion of the hearing. Any parties interested may appear, file

14 	objections, and offer evidence. The board may grant the application

15 	without notice or hearing, upon the filing of such waivers as it may

16 	require, if in its judgment the finding required by section 70-1014 or

17 	70-1014.01 can be made without a hearing. Such hearing shall be conducted

18 	as provided in section 70-1006. The board may allow amendments to the

19 	application, in the interests of justice.

20 	(2) A privately developed renewable energy generation facility is

21 	exempt from this section if it complies with section 70-1014.02.

22 	Sec. 4. Section 70-1014, Revised Statutes Supplement, 2025, is

23 	amended to read:

24 	70-1014 (1) After hearing, the board shall have authority to approve

25 	or deny the application. Except as provided in section 70-1014.01 for

26 	special generation applications, before approval of an application, the

27 	board shall find that:

28 	(a) The application will serve the public convenience and necessity,

29 	and that the applicant can most economically and feasibly supply the

30 	electric service resulting from the proposed construction or acquisition

31 	without unnecessary duplication of facilities or operations; and

-5-

LB1027 	LB1027

2026 	2026

1 	(b)(i) For any proposed electric generation facility that has a

2 	generating capacity that is greater than ten megawatts, the applicant has

3 	held at least one public meeting with advanced publicized notice in one

4 	of the counties in which the proposed facility will be located at which

5 	(A) at least fifty percent of the governing body of the electric supplier

6 	attends either in person or by videoconference, but with not less than

7 	one member of the governing body physically present, (B) the applicant

8 	explains the need for the proposed facility and the type of facility, and

9 	(C) real property owners in any of the counties in which the proposed

10 	facility will be located are provided an opportunity to comment on the

11 	proposed facility. The applicant shall provide a report to the board

12 	containing the minutes of any such meeting and how many people commented

13 	on the proposed facility. Documentation received at any such meeting

14 	shall be made available to the board upon its request. A meeting

15 	described in this subdivision is not subject to the requirements

16 	described in subdivision (2)(b)(iv) of section 84-1411.

17 	(ii) This subdivision (b) shall not apply if the proposed facility

18 	will be located on real property owned by the applicant at the time of

19 	application.

20 	(2) If the application involves a transmission line or related

21 	facilities planned and approved by a regional transmission organization

22 	and the regional transmission organization has issued a notice to

23 	construct or similar notice or order to a utility to construct the line

24 	or related facilities, the board shall also consider information from the

25 	regional transmission organization's planning process and may consider

26 	the benefits to the region, which shall include Nebraska, provided by the

27 	proposed line or related facilities as part of the board's process in

28 	determining whether to approve or deny the application.

29 	(3) A privately developed renewable energy generation facility is

30 	exempt from this section if it complies with section 70-1014.02.

31 	Sec. 5. Section 70-1014.01, Reissue Revised Statutes of Nebraska, is

-6-

LB1027 	LB1027

2026 	2026

1 	amended to read:

2 	70-1014.01 (1) Except as provided in subsection (2) of this section,

3 	an application by a municipality, a registered group of municipalities, a

4 	public power district, a public power and irrigation district, an

5 	electric cooperative, an electric membership association, or any other

6 	governmental entity, for a facility that will generate not more than ten

7 	thousand kilowatts of electric energy at rated capacity and will generate

8 	electricity using solar, wind, biomass, landfill gas, methane gas, or

9 	hydropower generation technology or an emerging generation technology,

10 	including, but not limited to, fuel cells and micro-turbines, shall be

11 	deemed a special generation application. Such application shall be

12 	approved by the board if the board finds that (a) the application

13 	qualifies as a special generation application, (b) the application will

14 	provide 	public 	benefits sufficient 	to 	warrant 	approval 	of 	the

15 	application, although it may not constitute the most economically

16 	feasible generation option, and (c) the application under consideration

17 	represents a separate and distinct project from any previous special

18 	generation application the applicant may have filed.

19 	(2)(a) An application by a municipality, a registered group of

20 	municipalities, a public power district, a public power and irrigation

21 	district, an electric cooperative, an electric membership association, or

22 	any other governmental entity for a facility that will generate more than

23 	ten thousand kilowatts of electric energy at rated capacity and will

24 	generate electricity using renewable energy sources such as solar, wind,

25 	biomass, landfill gas, methane gas, or new hydropower generation

26 	technology or an emerging technology, including, but not limited to, fuel

27 	cells and micro-turbines, may be filed with the board if (i) the total

28 	production from all such renewable projects, excluding sales from such

29 	projects to other electric-generating entities, does not exceed ten

30 	percent of total energy sales as shown in the producer's Annual Electric

31 	Power Industry Report to the United States Department of Energy and (ii)

-7-

LB1027 	LB1027

2026 	2026

1 	the applicant's governing body conducts at least one advertised public

2 	hearing which affords the ratepayers of the applicant a chance to review

3 	and comment on the subject of the application.

4 	(b) The application filed under subdivision (2)(a) of this section

5 	shall be approved by the board if the board finds that (i) the applicant

6 	is using renewable energy sources described in this subsection, (ii)

7 	total production from all renewable projects of the applicant does not

8 	exceed ten percent of the producer's total energy sales as described in

9 	subdivision (2)(a) of this section, and (iii) the applicant's governing

10 	body has conducted at least one advertised public hearing which affords

11 	its ratepayers a chance to review and comment on the subject of the

12 	application.

13 	(3)(a) A community-based energy development project organized

14 	pursuant to the Rural Community-Based Energy Development Act or any

15 	privately developed project which intends to develop renewable energy

16 	sources for sale to one or more Nebraska electric utilities described in

17 	this section may also make an application to the board pursuant to this

18 	subsection if (i) the purchasing electric utilities conduct a public

19 	hearing described in subdivision (2)(a) of this section, (ii) the power

20 	and energy from the renewable energy sources is sold exclusively to such

21 	electric utilities for a term of at least twenty years, and (iii) the

22 	total production from all such renewable projects, excluding sales from

23 	such projects to other electric-generation entities, does not exceed ten

24 	percent of total energy sales of such purchasing electric utilities as

25 	shown in such utilities' Annual Electric Power Industry Report to the

26 	United States Department of Energy or the successor to such report.

27 	(b) The application filed under subdivision (3)(a) of this section

28 	shall be approved by the board if the board finds that the purchasing

29 	electric utilities have met the conditions described in subdivision (3)

30 	(a) of this section.

31 	(4) No facility or part of a facility which is approved pursuant to

-8-

LB1027 	LB1027

2026 	2026

1 	this section is subject to eminent domain by any electric supplier, or by

2 	any other entity if the purpose of the eminent domain proceeding is to

3 	acquire the facility for electric generation or transmission.

4 	(5) A privately developed renewable energy generation facility is

5 	exempt from this section if it complies with section 70-1014.02.

6 	Sec. 6. Section 70-1014.02, Revised Statutes Supplement, 2025, is

7 	amended to read:

8 	70-1014.02 (1) The Legislature finds that:

9 	(a) Nebraska has the authority as a sovereign state to protect its

10 	land, natural resources, and cultural resources for economic and

11 	aesthetic purposes for the benefit of its residents and future

12 	generations by regulation of energy generation projects;

13 	(b) The unique terrain and ecology of the Nebraska Sandhills provide

14 	an irreplaceable habitat for millions of migratory birds and other

15 	wildlife every year and serve as the home to numerous ranchers and

16 	farmers;

17 	(c) The grasslands of the Nebraska Sandhills and other natural

18 	resources 	in 	Nebraska will 	become 	increasingly 	valuable, 	both

19 	economically and strategically, as the demand for food and energy

20 	increases; and

21 	(d) The Nebraska Sandhills are home to priceless archaeological

22 	sites of historical and cultural significance to American Indians.

23 	(2)(a) Prior A privately developed renewable energy generation

24 	facility that meets the requirements of this section is exempt from

25 	sections 70-1012 to 70-1014.01 if, no less than thirty days prior to the

26 	commencement of construction of a privately developed renewable energy

27 	generation facility, the owner of the facility shall:

28 	(i) Notify Notifies the board in writing of its intent to commence

29 	construction of a privately developed renewable energy generation

30 	facility;

31 	(ii) Certify Certifies to the board that the facility will meet the

-9-

LB1027 	LB1027

2026 	2026

1 	requirements for a privately developed renewable energy generation

2 	facility;

3 	(iii) Certify Certifies to the board that the private electric

4 	supplier will (A) comply with any decommissioning requirements adopted by

5 	the local governmental entities having jurisdiction over the privately

6 	developed renewable energy generation facility and (B) except as

7 	otherwise provided in subdivision (c) of this subsection, submit a

8 	decommissioning plan to the board obligating the private electric

9 	supplier to bear all costs of decommissioning the privately developed

10 	renewable energy generation facility and requiring that the private

11 	electric supplier post a security bond or other instrument, no later than

12 	the sixth year following commercial operation, securing the costs of

13 	decommissioning the facility and provide a copy of the bond or instrument

14 	to the board;

15 	(iv) Certify Certifies to the board that the private electric

16 	supplier has entered into or prior to commencing construction will enter

17 	into a joint transmission development agreement pursuant to subdivision

18 	(d) of this subsection with the electric supplier owning the transmission

19 	facilities of sixty thousand volts or greater to which the privately

20 	developed renewable energy generation facility will interconnect;

21 	(v) Certify Certifies to the board that the private electric

22 	supplier has consulted with the Game and Parks Commission to identify

23 	potential measures to avoid, minimize, and mitigate impacts to species

24 	identified under subsection (1) or (2) of section 37-806 during the

25 	project planning and design phases, if possible, but in no event later

26 	than the commencement of construction; and

27 	(vi) For a proposed privately developed renewable energy generation

28 	facility that has a generating capacity that is greater than ten

29 	megawatts, certify certifies to the board that the private electric

30 	supplier has held at least one public meeting with advanced publicized

31 	notice in one of the counties in which the proposed facility will be

-10-

LB1027 	LB1027

2026 	2026

1 	located at which (A) the private electric supplier explains the need for

2 	the proposed facility and the type of facility and (B) real property

3 	owners in any of the counties in which the proposed facility will be

4 	located are provided an opportunity to comment on the proposed facility.

5 	The private electric supplier shall provide a report to the board

6 	containing the minutes of any such meeting and how many people commented

7 	on the proposed facility. Documentation received at any such meeting

8 	shall be made available to the board upon its request. A meeting

9 	described in this subdivision (a)(vi) is not subject to the requirements

10 	described in subdivision (2)(b)(iv) of section 84-1411; and .

11 	(vii) Certify to the board that the owner has entered into a power

12 	purchase agreement with a public power district for the production of

13 	energy by the privately developed renewable energy generation facility.

14 	(b)(i) Prior No less than thirty days prior to the commencement of

15 	construction of a privately developed renewable energy generation

16 	facility located within a ten-mile radius of a military installation, the

17 	owner of such facility shall:

18 	(A) Provide written notice to the board under subdivision (2)(b)(ii)

19 	(A) of this section; or

20 	(B) Certify in writing to the board that the facility will, upon

21 	reaching commercial operation, be in compliance with the critical

22 	infrastructure protection requirements issued by the North American

23 	Electric Reliability Corporation if such facility is connected to the

24 	transmission grid at one hundred kilovolts or higher voltage and has a

25 	nameplate rating of twenty megavolt amperes for a single generation unit

26 	or is injecting at an aggregate of seventy-five megavolt amperes or

27 	greater. The owner of such facility shall also submit written notice to

28 	the board at any time such facility is no longer in compliance with such

29 	requirements.

30 	(ii)(A) An owner of a facility choosing to proceed under subdivision

31 	(2)(b)(i)(A) of this section shall, following consultation with such

-11-

LB1027 	LB1027

2026 	2026

1 	owner's vendors, submit a one-time written notice to the board certifying

2 	that the facility continually contains no electronic-related equipment or

3 	electronic-related components manufactured by any foreign adversary.

4 	(B) The owner shall also submit written notice to the board at any

5 	time such facility is no longer in compliance with the certification

6 	provided under subdivision (2)(b)(ii)(A) of this section.

7 	(iii) Notwithstanding subdivisions (2)(b)(i) and (ii) of this

8 	section, the owner of a facility required to provide the certification

9 	under subsection (2)(b)(i) may use electronic-related equipment or

10 	electronic-related components manufactured by a foreign adversary if the

11 	board preapproves the use of such equipment or components after finding

12 	that:

13 	(A) There is no other reasonable option for procuring such equipment

14 	or components; and

15 	(B) Not procuring or using such equipment or components would cause

16 	a greater harm to the state than the harm associated with the equipment

17 	or components.

18 	(c) The board may bring an action in the name of the State of

19 	Nebraska for failure to comply with subdivision (a)(iii)(B) of this

20 	subsection, except that such subdivision does not apply if a local

21 	government entity with the authority to create requirements for

22 	decommissioning 	has 	enacted 	decommissioning 	requirements 	for 	the

23 	applicable jurisdiction.

24 	(d) A joint transmission development agreement shall be entered into

25 	to address construction, ownership, operation, and maintenance of such

26 	additions or upgrades to the transmission facilities as required for the

27 	privately developed renewable energy generation facility. The joint

28 	transmission development agreement shall be negotiated and executed

29 	contemporaneously with the generator interconnection agreement or other

30 	directives of the applicable regional transmission organization with

31 	jurisdiction over the addition or upgrade of transmission, upon terms

-12-

LB1027 	LB1027

2026 	2026

1 	consistent 	with 	prudent 	electric 	utility 	practices 	for 	the

2 	interconnection 	of 	renewable 	generation 	facilities, 	the 	electric

3 	supplier's reasonable transmission interconnection requirements, and

4 	applicable transmission design and construction standards. The electric

5 	supplier shall have the right to purchase and own transmission facilities

6 	as set forth in the joint transmission development agreement. The private

7 	electric supplier of the privately developed renewable energy generation

8 	facility shall have the right to construct any necessary facilities or

9 	improvements set forth in the joint transmission development agreement

10 	pursuant to the standards set forth in the agreement at the private

11 	electric supplier's cost.

12 	(3) After receipt of all written notice and certification that is

13 	required under subsection (2) of this section, the board shall hold a

14 	hearing on the proposed facility and determine whether such facility is

15 	compliant with the requirements of this section. After such hearing, the

16 	board shall have authority to approve or deny the construction. Within

17 	ten days after receipt of a written notice complying with subsection (2)

18 	of this section, the executive director of the board shall issue a

19 	written acknowledgment that the privately developed renewable energy

20 	generation facility is exempt from sections 70-1012 to 70-1014.01 if such

21 	facility remains in compliance with the requirements of this section.

22 	(4) The exemption allowed under this section for a privately

23 	developed renewable energy generation facility shall extend to and exempt

24 	all private electric suppliers owning any interest in the facility,

25 	including any successor private electric supplier which subsequently

26 	acquires any interest in the facility.

27 	(4) (5) No property owned, used, or operated as part of a privately

28 	developed renewable energy generation facility shall be subject to

29 	eminent domain by a consumer-owned electric supplier operating in the

30 	State of Nebraska. Nothing in this section shall be construed to grant

31 	the power of eminent domain to a private electric supplier or limit the

-13-

LB1027 	LB1027

2026 	2026

1 	rights of any entity to acquire any public, municipal, or utility right-

2 	of-way across property owned, used, or operated as part of a privately

3 	developed renewable energy generation facility as long as the right-of-

4 	way does not prevent the operation of or access to the privately

5 	developed renewable energy generation facility.

6 	(5) (6) Only a consumer-owned electric supplier operating in the

7 	State of Nebraska may exercise eminent domain authority to acquire the

8 	land rights necessary for the construction of transmission lines and

9 	related facilities. There is a rebuttable presumption that the exercise

10 	of eminent domain to provide needed transmission lines and related

11 	facilities for a privately developed renewable energy generation facility

12 	is a public use.

13 	(6) (7) Nothing in this section shall be construed to authorize a

14 	private electric supplier to sell or deliver electricity at retail in

15 	Nebraska.

16 	(7) (8) Nothing in this section shall be construed to limit the

17 	authority of or require a consumer-owned electric supplier operating in

18 	the State of Nebraska to enter into a joint agreement with a private

19 	electric supplier to develop, construct, and jointly own a privately

20 	developed renewable energy generation facility.

21 	Sec. 7. Section 70-1015, Revised Statutes Supplement, 2025, is

22 	amended to read:

23 	70-1015 (1) If any supplier violates Chapter 70, article 10, by

24 	either (a) commencing the construction or finalizing or attempting to

25 	finalize the acquisition of any generation facilities, any transmission

26 	lines, or any related facilities without first providing notice or

27 	obtaining board approval, whichever is required, or (b) serving or

28 	attempting to serve at retail any customers located in Nebraska or any

29 	wholesale 	customers 	in violation 	of 	section 	70-1002.02, 	such

30 	construction, acquisition, or service of such customers shall be enjoined

31 	in an action brought in the name of the State of Nebraska until such

-14-

LB1027 	LB1027

2026 	2026

1 	supplier has complied with Chapter 70, article 10.

2 	(2) If the executive director of the board determines that a private

3 	electric supplier commenced construction of a privately developed

4 	renewable energy generation facility less than thirty days prior to

5 	providing the notice and certification required in subdivisions (2)(a)

6 	and (b) of section 70-1014.02, the executive director shall send notice

7 	via certified mail to the private electric supplier, informing it of the

8 	determination that the private electric supplier is in violation of such

9 	subdivisions and is subject to a fine in the amount of five hundred

10 	dollars. The private electric supplier shall have twenty days from the

11 	date on which the notice is received in which to submit the notice and

12 	certification described in such subdivisions and to pay the fine. Within

13 	ten days after the private electric supplier submits a notice and

14 	certification compliant with subsection (2) of section 70-1014.02 and

15 	payment of the fine, the executive director of the board shall issue the

16 	written acknowledgment described in subsection (3) of section 70-1014.02.

17 	If the private electric supplier fails to submit a notice and

18 	certification compliant with subsection (2) of section 70-1014.02 and pay

19 	the fine within twenty days after the date on which the private electric

20 	supplier receives the notice from the executive director of the board,

21 	the private electric supplier shall immediately cease construction or

22 	operation of the privately developed renewable energy generation

23 	facility.

24 	(3) If the private electric supplier disputes that construction was

25 	commenced less than thirty days prior to submitting the written notice

26 	and certification required by subdivisions (2)(a) and (b) of section

27 	70-1014.02, the private electric supplier may request a hearing before

28 	the board. Such request shall be submitted within twenty days after the

29 	private electric supplier receives the notice sent by the executive

30 	director pursuant to subsection (2) of this section. If the private

31 	electric supplier does not accept the certified mail sent pursuant to

-15-

LB1027 	LB1027

2026 	2026

1 	such subsection, the executive director shall send a second notice to the

2 	private electric supplier by first-class United States mail. The private

3 	electric supplier may submit a request for hearing within twenty days

4 	after the date on which the second notice was mailed.

5 	(4) Upon receipt of a request for hearing, the board shall set a

6 	hearing date. Such hearing shall be held within sixty days after such

7 	receipt. The board shall provide to the private electric supplier written

8 	notice of the hearing at least twenty days prior to the date of the

9 	hearing. The board or its hearing officer may grant continuances upon

10 	good cause shown or upon the request of the private electric supplier.

11 	Timely filing of a request for hearing by a private electric supplier

12 	shall stay any further enforcement under this section until the board

13 	issues an order pursuant to subsection (5) of this section or the request

14 	for hearing is withdrawn.

15 	(5) The board shall issue a written decision within sixty days after

16 	conclusion of the hearing. All costs of the hearing shall be paid by the

17 	private electric supplier if (a) the board determines that the private

18 	electric supplier commenced construction of the privately developed

19 	renewable energy generation facility less than thirty days prior to

20 	submitting the written notice and certification required pursuant to

21 	subsection (2) of section 70-1014.02 or (b) the private electric supplier

22 	withdraws its request for hearing prior to the board issuing its

23 	decision.

24 	(6) A private electric supplier which the board finds to be in

25 	violation of the requirements of subsection (2) of section 70-1014.02

26 	shall either (a) pay the fine described in this section and submit a

27 	notice and certification compliant with subsection (2) of section

28 	70-1014.02 or (b) immediately cease construction or operation of the

29 	privately developed renewable energy generation facility.

30 	Sec. 8.  Original sections 70-1012.01, 70-1013, and 70-1014.01,

31 	Reissue Revised Statutes of Nebraska, and sections 70-1012, 70-1014,

-16-

LB1027 	LB1027

2026 	2026

1 	70-1014.02, and 70-1015, Revised Statutes Supplement, 2025, are repealed.

-17-