LB1064 	LB1064

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1064

Introduced byBostar, 29.

Read first time January 14, 2026

Committee: Natural Resources

1 	A BILL FOR AN ACT relating to electricity; to adopt the Large Load

2 	Customer Regulation Act.

3 	Be it enacted by the people of the State of Nebraska,

-1-

| LB1064 |  |  |  |  |  |  |  |  | LB1064 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Section 1. Sections 1 to 4 of this act shall be known and may be |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | cited as the Large Load Customer Regulation Act. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Sec. 2. For purposes of the Large Load Customer Regulation Act: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | (1) Large load customer means an entity requesting a new or expanded |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | interconnection where the total load at a single site would exceed twenty |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | megawatts; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | (2) Onsite backup generating facilities means generation that is not |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | capable of exporting energy to the transmission grid and that, in the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | aggregate, can serve at least fifty percent of onsite demand; and |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | (3) Public power supplier means a public power district organized |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | under Chapter 70, article 6, a public power and irrigation district, a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 | municipality, |  | a |  | registered |  |  | group |  |  | of | municipalities, |  |  | an | electric |  |
| 13 | cooperative, an electric membership association, a joint entity formed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 | under the Interlocal Cooperation Act, a joint public agency formed under |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 | the Joint Public Agency Act, an agency formed under the Municipal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 | Cooperative Financing Act, or any other governmental entity providing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 | electric service. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 | Sec. 3. (1) Public power suppliers shall establish standards for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 19 | interconnecting large load customers in a manner designed to support |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 | business development in this state while mitigating the potential for |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 | stranded infrastructure costs and maintaining system reliability. The |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 22 | standards shall include, but are not limited to: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 23 | (a) A requirement for each large load customer to disclose to the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 24 | interconnecting public power supplier whether the customer is pursuing a |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 25 | substantially similar request for electric service the approval of which |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 26 | would | result |  | in |  | the | customer |  |  | materially |  |  | changing, | delaying, |  |  | or |
| 27 | withdrawing the interconnection request. The disclosure may redact |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 28 | competitively sensitive details. The public power supplier shall not |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 29 | sell, share, or disclose the information submitted to it under this |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 30 | subdivision; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 31 | (b) A requirement for each interconnected large load customer to |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

-2-

| LB1064 |  |  |  |  | LB1064 |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |  |
| 1 | disclose to the interconnecting public power supplier information about |  |  |  |  |  |  |  |  |
| 2 | the customer's onsite backup generating facilities. The public power |  |  |  |  |  |  |  |  |
| 3 | supplier shall use such information for purposes of the procedure |  |  |  |  |  |  |  |  |
| 4 | described in section 4 of this act; |  |  |  |  |  |  |  |  |
| 5 | (c) A flat study fee of at least one hundred thousand dollars to be |  |  |  |  |  |  |  |  |
| 6 | paid | to | the | interconnecting | public | power | supplier | for | initial |
| 7 | transmission screening studies for large loads that exceed the load |  |  |  |  |  |  |  |  |
| 8 | threshold described in subdivision (1) of section 2 of this act. A large |  |  |  |  |  |  |  |  |
| 9 | load customer that requests additional capacity following the screening |  |  |  |  |  |  |  |  |
| 10 | study shall pay an additional study fee based on the new request. The |  |  |  |  |  |  |  |  |
| 11 | public power supplier shall complete the screening study within one |  |  |  |  |  |  |  |  |
| 12 | hundred eighty days after receiving the study fee; |  |  |  |  |  |  |  |  |
| 13 | (d) A method for a large load customer to demonstrate site control |  |  |  |  |  |  |  |  |
| 14 | for the proposed load location; and |  |  |  |  |  |  |  |  |
| 15 | (e) Financial commitment requirements for the development of |  |  |  |  |  |  |  |  |
| 16 | transmission and generation infrastructure needed to serve a large load |  |  |  |  |  |  |  |  |
| 17 | customer. |  |  |  |  |  |  |  |  |
| 18 | (2) A public power supplier is not required to establish a general |  |  |  |  |  |  |  |  |
| 19 | rate tariff for large load customers. A public power supplier is |  |  |  |  |  |  |  |  |
| 20 | authorized to establish or negotiate rates, charges, and operating |  |  |  |  |  |  |  |  |
| 21 | standards for each large load customer that fairly allocate electricity |  |  |  |  |  |  |  |  |
| 22 | system costs to the large load customer and also mitigate (a) operational |  |  |  |  |  |  |  |  |
| 23 | and resource adequacy risks and (b) financial risks to other customers, |  |  |  |  |  |  |  |  |
| 24 | without regard to the requirements of section 70-655. |  |  |  |  |  |  |  |  |
| 25 | (3) A public power supplier may impose electric service requirements |  |  |  |  |  |  |  |  |
| 26 | for large load customers on its system in addition to the standards |  |  |  |  |  |  |  |  |
| 27 | established under this section. |  |  |  |  |  |  |  |  |
| 28 | Sec. 4. Public power suppliers shall develop a procedure to: |  |  |  |  |  |  |  |  |
| 29 | (1) Procure demand response, reductions, and load flexibility from |  |  |  |  |  |  |  |  |
| 30 | large load customers; and |  |  |  |  |  |  |  |  |
| 31 | (2) In the event of an emergency condition, require the affected |  |  |  |  |  |  |  |  |

-3-

LB1064 	LB1064

2026 	2026

1 	large load customers to curtail load or, for those customers with onsite

2 	backup generating facilities, to deploy such facilities for the duration

3 	of the emergency condition or until the load can be recalled safely.

-4-