LB1111 	LB1111

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 1111

Introduced byCavanaugh, M., 6; McKinney, 11.

Read first time January 16, 2026

Committee: Natural Resources

1 	A BILL FOR AN ACT relating to electricity; to amend section 70-1025,

2 	Revised Statutes Cumulative Supplement, 2024, and section 70-1506,

3 	Revised Statutes Supplement, 2025; to require an annual data center

4 	load report to the Nebraska Power Review Board; to define and

5 	redefine terms; to provide powers and duties for public power

6 	suppliers; to allow and require regulation of data centers as

7 	prescribed; 	to 	change 	provisions 	relating 	to 	regulation 	of

8 	cryptocurrency 	mining operation; 	and 	to 	repeal 	the 	original

9 	sections.

10 	Be it enacted by the people of the State of Nebraska,

-1-

LB1111 	LB1111

2026 	2026

1 	Section 1. Section 70-1025, Revised Statutes Cumulative Supplement,

2 	2024, is amended to read:

3 	70-1025 (1) The representative organization shall file with the

4 	board a coordinated long-range power supply plan containing the following

5 	information:

6 	(a) The identification of all electric generation plants operating

7 	or authorized for construction within the state that have a rated

8 	capacity of at least twenty-five thousand kilowatts;

9 	(b) The identification of all transmission lines located or

10 	authorized for construction within the state that have a rated capacity

11 	of at least two hundred thirty kilovolts; and

12 	(c) The identification of all additional planned electric generation

13 	and transmission requirements needed to serve estimated power supply

14 	demands within the state for a period of twenty years.

15 	(2) The representative organization shall file with the board the

16 	coordinated long-range power supply plan specified in subsection (1) of

17 	this section, and the board shall determine the date on which such report

18 	is to be filed, except that such report shall not be required to be filed

19 	more often than biennially.

20 	(3) An annual load and capability report shall be filed with the

21 	board by the representative organization. The report shall include:

22 	(a) Statewide utility load forecasts and the resources available to

23 	satisfy the loads over a twenty-year period; and

24 	(b) Such other information as the board requests if such request is

25 	submitted in writing to the representative organization, is consistent

26 	with the board's statutory responsibilities, and can be performed at a

27 	reasonable cost.

28 	(4) The annual load and capability report shall be filed on dates

29 	specified by the board.

30 	(5) An annual data center load report shall be filed with the board

31 	by the representative organization. The report shall include:

-2-

| LB1111 |  |  |  |  | LB1111 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2026 | 2026 |  |  |  |  |  |  |  |
| 1 | (a) A compilation of the information for proposed and existing data |  |  |  |  |  |  |  |
| 2 | centers described by subsection (9) of section 70-1506; |  |  |  |  |  |  |  |
| 3 | (b) A statewide data center load forecast; |  |  |  |  |  |  |  |
| 4 | (c) A description of existing and proposed electricity generation |  |  |  |  |  |  |  |
| 5 | needed to meet such load forecast; |  |  |  |  |  |  |  |
| 6 | (d) A description of transmission additions and enhancements needed |  |  |  |  |  |  |  |
| 7 | to meet such load forecast; |  |  |  |  |  |  |  |
| 8 | (e) The estimated costs of all new generation and transmission |  |  |  |  |  |  |  |
| 9 | needed to meet such load forecast; |  |  |  |  |  |  |  |
| 10 | (f) Stranded asset costs, including total costs recovered from |  |  |  |  |  |  |  |
| 11 | ratepayers that are not data centers; |  |  |  |  |  |  |  |
| 12 | (g) | Identification | of | data |  | center | decommissioning | resources, |
| 13 | activities, and shortfalls; |  |  |  |  |  |  |  |
| 14 | (h) The policies, terms, and schedules of all public power suppliers |  |  |  |  |  |  |  |
| 15 | intended to limit cost and risk impacts of data centers on other retail |  |  |  |  |  |  |  |
| 16 | customers; and |  |  |  |  |  |  |  |
| 17 | (i) Such other information the board considers necessary in the |  |  |  |  |  |  |  |
| 18 | interest of the public. |  |  |  |  |  |  |  |
| 19 | (6) The annual data center load report shall be filed on dates |  |  |  |  |  |  |  |
| 20 | specified by the board. The board shall make the information in the |  |  |  |  |  |  |  |
| 21 | annual data center load report public to the maximum extent permitted by |  |  |  |  |  |  |  |
| 22 | law. |  |  |  |  |  |  |  |
| 23 | Sec. 2. Section 70-1506, Revised Statutes Supplement, 2025, is |  |  |  |  |  |  |  |
| 24 | amended to read: |  |  |  |  |  |  |  |
| 25 | 70-1506 (1) For purposes of this section: |  |  |  |  |  |  |  |
| 26 | (a) Cryptocurrency mining means validating transactions for addition |  |  |  |  |  |  |  |
| 27 | to a blockchain distributed ledger; |  |  |  |  |  |  |  |
| 28 | (b) Cryptocurrency mining operation means a data center at least any |  |  |  |  |  |  |  |
| 29 | facility of one megawatt in size but not exceeding twenty megawatts in |  |  |  |  |  |  |  |
| 30 | size or greater that conducts cryptocurrency mining; and |  |  |  |  |  |  |  |
| 31 | (c) Data center means a facility: |  |  |  |  |  |  |  |

-3-

LB1111 	LB1111

2026 	2026

1 	(i) The primary services of which are the storage, management, and

2 	processing of digital data; and

3 	(ii) That is used to house computer and network systems, including

4 	associated components such as servers, network equipment and appliances,

5 	telecommunications systems, data storage systems, systems for monitoring

6 	and managing infrastructure performance, Internet-related equipment and

7 	services, data communications connections, environmental controls, fire

8 	protection systems, and security systems and services;

9 	(d) Large data center means a data center with a peak electricity

10 	demand of twenty megawatts or more; and

11 	(e) (c) Public power supplier means a public power district,

12 	municipal electric utility, or any other government entity providing

13 	electric service.

14 	(2) When establishing or negotiating rates, tolls, rents, and other

15 	charges for large data centers, a public power supplier shall ensure, to

16 	the maximum extent permitted by law, that:

17 	(a) Each large data center pays the full cost of providing new

18 	electric service to such center, including, but not limited to, the cost

19 	of infrastructure upgrades necessitated by the operation of such center;

20 	(b) The cost of providing electric service to a large data center is

21 	not paid by other retail customers;

22 	(c) Other retail customers are not placed at financial risk for

23 	paying stranded costs associated with providing electric service to large

24 	data centers that have prematurely ceased operation; and

25 	(d) Each large data center bears all decommissioning costs of such

26 	center.

27 	(3) A public power supplier shall impose terms and conditions on a

28 	large data center to require that such center:

29 	(a) Pay the cost of infrastructure upgrades necessitated by the

30 	operation of the large data center;

31 	(b) Prevent transfer of costs and risks of infrastructure upgrades

-4-

LB1111 	LB1111

2026 	2026

1 	to other retail customers during the operation of the large data center

2 	and, in the event the large data center operation ceases to operate,

3 	before the center pays the full costs of infrastructure upgrades

4 	necessitated for the operation of the center;

5 	(c) Submit a proposal to meet some or all of the large data center

6 	operation's load demand through private electric supplier agreements or

7 	self-generation, as a means to limit the risk of ratepayer stranded-asset

8 	costs;

9 	(d) Comply with any decommissioning requirements adopted by local

10 	governmental entities;

11 	(e) Submit a decommissioning plan to the public power supplier that

12 	obligates the large data center to:

13 	(i) Bear all costs of decommissioning the large data center;

14 	(ii) Post a security bond or other instrument, no later than the

15 	first year following commercial operation of the large data center,

16 	securing the costs of decommissioning the center; and

17 	(iii) Provide a copy of such bond or instrument to the public power

18 	supplier;

19 	(f) Provide the public power supplier with a copy of any required

20 	county or municipal zoning and other permits; and

21 	(g) Enter into a community benefit agreement to mitigate adverse

22 	community impacts.

23 	(4) (2) A public power supplier may impose requirements on any

24 	cryptocurrency mining operation for the cost of infrastructure upgrades

25 	necessitated by such operations, including, but not limited to:

26 	(a) Requiring direct payment or a letter of credit from such

27 	operation for such cost; or

28 	(b) Imposing terms and conditions on such operation that are in the

29 	interest of the public.

30 	(5) (3) Requirements imposed pursuant to this section shall be fair,

31 	reasonable, and not unduly discriminatory.

-5-

LB1111 	LB1111

2026 	2026

1 	(6) (4) Before any requirement is imposed pursuant to this section,

2 	the public power supplier shall conduct a load study to determine the

3 	costs, impacts, and infrastructure upgrades necessitated by the large

4 	data center or cryptocurrency mining operation.

5 	(7) A public power supplier shall limit electric service to a large

6 	data center to the extent such center is able to acquire electric service

7 	from a private electric supplier or self-generation of the center and

8 	shall interconnect the center's private supplier and self-generation.

9 	(8) (5) Any person intending to install a large data center or

10 	cryptocurrency mining operation is responsible for notifying the local

11 	public power supplier of such intent, and such center or operation is

12 	subject to the interconnection requirements of such supplier.

13 	(9) (6) Each public power supplier shall make available to the

14 	public on the supplier's website the following information for each

15 	proposed and existing data center under the jurisdiction of the supplier:

16 	number of cryptocurrency mining operations under the jurisdiction of the

17 	supplier and the annual energy usage of each operation.

18 	(a) The name of the data center;

19 	(b) The names of the developers and owners of the data center;

20 	(c) The physical size of the data center in square feet;

21 	(d) The location of the data center, including street address and

22 	county;

23 	(e) The electricity demand of the data center;

24 	(f) The suppliers of electricity that would provide electric service

25 	to the data center and the amount of electricity provided by each

26 	supplier, including the names of public power suppliers and any private

27 	electricity suppliers, self-generation, or other energy suppliers;

28 	(g) The customer types and duration of customer demand contracts for

29 	the data center;

30 	(h) The transmission and distribution facility additions and

31 	enhancements required to serve the data center;

-6-

LB1111 	LB1111

2026 	2026

1 	(i) All energy efficiency, load management, and conservation

2 	measures implemented by the data center;

3 	(j) All commitments by the data center to use renewable energy; and

4 	(k) The service life of the data center.

5 	(10) (7) A large data center or cryptocurrency mining operation

6 	shall allow a public power supplier to interrupt the such operation's

7 	electric service of such center or operation according to such supplier's

8 	established rate schedules and policies.

9 	Sec. 3.  Original section 70-1025, Revised Statutes Cumulative

10 	Supplement, 2024, and section 70-1506, Revised Statutes Supplement, 2025,

11 	are repealed.

-7-