LB725 	LB725

2026 	2026

LEGISLATURE OF NEBRASKA

ONE HUNDRED NINTH LEGISLATURE

SECOND SESSION

LEGISLATIVE BILL 725

Introduced byQuick, 35.

Read first time January 07, 2026

Committee: General Affairs

1 	A BILL FOR AN ACT relating to the State Electrical Act; to amend sections

2 	81-2102, 81-2107, 81-2108, 81-2109, 81-2112.02, 81-2113, 81-2117.02,

3 	81-2118, 81-2121, 81-2134, 81-2135, and 81-2144, Reissue Revised

4 	Statutes of Nebraska; to redefine terms; to change provisions

5 	relating to licenses; to change provisions relating to fees; to

6 	change provisions relating to inspections; to change provisions

7 	relating to directional boring or knifing; to harmonize provisions;

8 	and to repeal the original sections.

9 	Be it enacted by the people of the State of Nebraska,

-1-

LB725 	LB725

2026 	2026

1 	Section 1. Section 81-2102, Reissue Revised Statutes of Nebraska, is

2 	amended to read:

3 	81-2102 For purposes of the State Electrical Act, unless the context

4 	otherwise requires:

5 	(1) Apprentice electrician means any person, other than a licensee,

6 	who, as such person's principal occupation, is engaged in learning and

7 	assisting in the installation, alteration, and repair of electrical

8 	equipment as an employee of a licensee and who is registered with the

9 	board. For purposes of this subdivision, persons who are not engaged in

10 	the installation, alteration, or repair of electrical wiring and

11 	apparatus, either inside or outside buildings, shall not be considered

12 	apprentice electricians;

13 	(2) Board means the State Electrical Board;

14 	(3) Class A master electrician means a person having the necessary

15 	qualifications, training, experience, and technical knowledge to properly

16 	plan, lay out, and supervise the installation of wiring, apparatus, and

17 	equipment for electric light, heat, power, power limited systems, and

18 	other purposes and who is licensed by the board;

19 	(4) Class B electrical contractor means a person having the

20 	necessary qualifications, training, experience, and technical knowledge

21 	to properly plan, lay out, install, and supervise the installation of

22 	wiring, apparatus, and equipment for power limited systems not to exceed

23 	one hundred volts and one thousand volt-amps in commercial installations,

24 	industrial installations, systems of not over four hundred ampere

25 	capacity for light, heat, power, and other purposes in any structure used

26 	and maintained as a residential dwelling but not larger than a four-

27 	family dwelling located in any municipality which has a population of

28 	less than one hundred thousand inhabitants as determined by the most

29 	recent federal decennial census or the most recent revised certified

30 	count by the United States Bureau of the Census and who is licensed by

31 	the board;

-2-

LB725 	LB725

2026 	2026

1 	(5) Class B journeyman electrician means a person having the

2 	necessary qualifications, training, experience, and technical knowledge

3 	to wire for or install electrical wiring, apparatus, and equipment for

4 	power limited systems not to exceed one hundred volts and one thousand

5 	volt-amps in commercial installations, industrial installations, systems

6 	of not over four hundred ampere capacity for light, heat, power, and

7 	other purposes in any structure used and maintained as a residential

8 	dwelling but not larger than a four-family dwelling located in any

9 	municipality which has a population of less than one hundred thousand

10 	inhabitants as determined by the most recent federal decennial census or

11 	the most recent revised certified count by the United States Bureau of

12 	the Census and who is licensed by the board;

13 	(6) Commercial installation means an installation intended for

14 	commerce, but does not include a residential installation;

15 	(7) Electrical contractor means a person having the necessary

16 	qualifications, training, experience, and technical knowledge to properly

17 	plan, lay out, install, and supervise the installation of wiring,

18 	apparatus, and equipment for electric light, heat, power, power limited

19 	systems, and other purposes and who is licensed by the board;

20 	(8) Fire alarm installer means any person having the necessary

21 	qualifications, training, and experience to plan, lay out, and install

22 	electrical wiring, apparatus, and equipment for only those components of

23 	fire alarm systems from the first point of overcurrent that operate at

24 	fifty volts or less and who is licensed by the board;

25 	(9) Industrial installation means an installation intended for use

26 	in the manufacture or processing of products involving systematic labor

27 	or habitual employment and includes installations in which agricultural

28 	or other products are habitually or customarily processed or stored for

29 	others, either by buying or reselling on a fee basis;

30 	(10) Inspector means a person certified as an electrical inspector

31 	upon such reasonable conditions as may be adopted by the board. The board

-3-

LB725 	LB725

2026 	2026

1 	may permit more than one class of electrical inspector;

2 	(11) Journeyman electrician means a person having the necessary

3 	qualifications, training, experience, and technical knowledge to wire for

4 	or install electrical wiring, apparatus, and equipment, and power limited

5 	systems, and to supervise apprentice electricians, and who is licensed by

6 	the board;

7 	(12) New electrical installation means the installation of wiring,

8 	apparatus, and equipment for electric light, heat, power, and other

9 	purposes;

10 	(13) Public-use building or facility means any building or facility

11 	designated for public use;

12 	(14) Residential installation means an installation intended for a

13 	single-family or two-family residential dwelling or a multi-family

14 	residential dwelling not larger than three stories in height;

15 	(15) Residential journeyman electrician means a person having the

16 	necessary qualifications, training, experience, and technical knowledge

17 	to wire for or install electrical wiring, apparatus, and equipment in any

18 	structure used and maintained as a residential dwelling but not larger

19 	than a four-family dwelling for residential installations and to

20 	supervise apprentice electricians and who is licensed by the board;

21 	(16) Routine maintenance means the repair or replacement of existing

22 	electrical apparatus and equipment of the same size and type for which no

23 	changes in wiring are made; and

24 	(17) Special electrician means a person having the necessary

25 	qualifications, training, and experience in wiring or installing special

26 	classes of electrical wiring, apparatus, equipment, or installations

27 	which shall include irrigation system wiring, well pump wiring, air

28 	conditioning and refrigeration installation, and sign installation and

29 	who is licensed by the board.

30 	Sec. 2. Section 81-2107, Reissue Revised Statutes of Nebraska, is

31 	amended to read:

-4-

LB725 	LB725

2026 	2026

1 	81-2107 (1) An applicant for an electrical contractor license shall

2 	(a) be a graduate of a four-year electrical course in an accredited

3 	college or university or (b) have at least one year's experience,

4 	acceptable to the board, as a journeyman electrician.

5 	(2) A Class B electrical contractor license shall be valid only for

6 	power limited systems not to exceed one hundred volts and one thousand

7 	volt-amps in commercial and industrial installations. in regard to

8 	systems of not over four hundred amperes in capacity in structures used

9 	and maintained as residential dwellings but not larger than four-family

10 	dwellings located in any municipality which has a population of less than

11 	one hundred thousand inhabitants as determined by the most recent federal

12 	decennial census or the most recent revised certified count by the United

13 	States Bureau of the Census.

14 	Sec. 3. Section 81-2108, Reissue Revised Statutes of Nebraska, is

15 	amended to read:

16 	81-2108 (1) Except as provided in subsection (2) of this section or

17 	in section 81-2112 or 81-2144, no person shall, for another, wire for or

18 	install electrical wiring, apparatus, or equipment unless he or she is

19 	licensed by the board as a Class B electrical contractor, an electrical

20 	contractor, a Class A master electrician, or a fire alarm installer.

21 	(2) Except as provided in section 81-2106, 81-2112, or 81-2144, no

22 	person shall wire for or install electrical wiring, apparatus, or

23 	equipment or supervise an apprentice electrician unless such person is

24 	licensed as a Class B journeyman electrician, a journeyman electrician, a

25 	residential journeyman electrician, or a fire alarm installer and is

26 	employed by a Class B electrical contractor, an electrical contractor, a

27 	Class A master electrician, or a fire alarm installer.

28 	(3) For purposes of this section, the holder of a fire alarm

29 	installer license shall only supervise those apprentices engaged in the

30 	installation of fire alarm equipment and apparatus operating at fifty

31 	volts or less.

-5-

LB725 	LB725

2026 	2026

1 	(4) (3) No person licensed under the State Electrical Act may lend

2 	his or her license to any person or knowingly permit the use of such

3 	license by another.

4 	Sec. 4. Section 81-2109, Reissue Revised Statutes of Nebraska, is

5 	amended to read:

6 	81-2109 (1) An applicant for a journeyman electrician license shall

7 	have at least four years' experience, acceptable to the board, in the

8 	electrical trade. Registration as an apprentice electrician for those

9 	years shall, on the approval of the board, constitute evidence of such

10 	experience. The board may by rule or regulation provide for the allowance

11 	of one year of experience credit for successful completion of a two-year

12 	post-high school electrical course approved by the board.

13 	(2) An On and after July 16, 2004, an applicant for a Class B

14 	residential journeyman electrician license shall have at least three

15 	years' experience, acceptable to the board, in the electrical trade.

16 	Registration as an apprentice electrician for those years shall, on the

17 	approval of the board, constitute evidence of such experience. The board

18 	may by rule or regulation provide for the allowance of one year of

19 	experience credit for successful completion of a two-year post-high

20 	school electrical course approved by the board. A residential journeyman

21 	electrician license shall be valid only for residential installations.

22 	(3) A Class B journeyman electrician license shall be valid only for

23 	power limited systems not to exceed one hundred volts and one thousand

24 	volt-amps in commercial and industrial installations. electrical systems

25 	of not over four hundred amperes in capacity in structures used and

26 	maintained as residential dwellings but not larger than four-family

27 	dwellings located in any municipality which has a population of less than

28 	one hundred thousand inhabitants as determined by the most recent federal

29 	decennial census or the most recent revised certified count by the United

30 	States Bureau of the Census.

31 	Sec. 5. Section 81-2112.02, Reissue Revised Statutes of Nebraska, is

-6-

LB725 	LB725

2026 	2026

1 	amended to read:

2 	81-2112.02  On and after September 9, 1993, any person licensed as a

3 	fire alarm installer may plan, lay out, and install electrical wiring,

4 	apparatus, and equipment for only those components of fire alarm systems

5 	that operate at fifty volts or less. An applicant for a fire alarm

6 	installer license shall have at least two years experience, acceptable to

7 	the board, in planning, laying out, and installing fire alarm systems.

8 	Sec. 6. Section 81-2113, Reissue Revised Statutes of Nebraska, is

9 	amended to read:

10 	81-2113 (1) A person may register with the board and pay a fee as

11 	provided in section 81-2118 to work as an apprentice electrician. Such

12 	registration shall entitle the registrant to act as an apprentice

13 	electrician to a Class B electrical contractor, an electrical contractor,

14 	a Class B journeyman electrician, a journeyman electrician, a residential

15 	journeyman electrician, or a Class A master electrician as provided in

16 	subsection (2) of this section. At the time of registration renewal, an

17 	apprentice shall pay the fee for renewal provided by section 81-2118 and

18 	present documentary evidence of any continuing education courses under

19 	section 81-2117.01 completed by the applicant. The board shall assess up

20 	to a six-month increase of required experience necessary for the

21 	applicant to qualify for the examination under section 81-2115 unless the

22 	applicant presents documentary evidence of the requisite hours of

23 	continuing education courses under section 81-2117.01.

24 	(2) An apprentice electrician shall do no electrical wiring except

25 	under the direct personal on-the-job supervision and control and in the

26 	immediate presence of a licensee under the State Electrical Act. Such

27 	supervision shall include both on-the-job training and related classroom

28 	training as approved by the board. The licensee may employ or supervise

29 	apprentice electricians at a ratio not to exceed three apprentice

30 	electricians to one licensee, except that such ratio and the other

31 	requirements of this section shall not be applicable to a teacher-student

-7-

LB725 	LB725

2026 	2026

1 	relationship within a classroom of a community college.

2 	(3) For purposes of this section, the direct personal on-the-job

3 	supervision and control and in the immediate presence of a licensee shall

4 	mean the licensee and the apprentice electrician shall be working at the

5 	same project location but shall not require that the licensee and

6 	apprentice electrician must be within sight of one another at all times.

7 	(4) (3) An apprentice electrician shall not install, alter, or

8 	repair electrical equipment except as provided in this section, and the

9 	licensee employing or supervising an apprentice electrician shall not

10 	authorize or permit such actions by the apprentice electrician.

11 	Sec. 7. Section 81-2117.02, Reissue Revised Statutes of Nebraska, is

12 	amended to read:

13 	81-2117.02 (1) No license as a Class A master electrician , Class B

14 	electrical contractor, or Class B journeyman electrician shall be issued

15 	on or after September 9, 1993, but such license licenses may be renewed

16 	as provided in this section.

17 	(2) A person licensed as a Class A master electrician , a Class B

18 	electrical contractor, a Class B journeyman electrician, or a special

19 	electrician on September 9, 1993, may renew such license on or after such

20 	date upon presentation of documentary evidence of successful completion

21 	of the requisite hours of continuing education courses under section

22 	81-2117.01 and payment of the fee for renewal provided by section

23 	81-2118.

24 	Sec. 8. Section 81-2118, Reissue Revised Statutes of Nebraska, is

25 	amended to read:

26 	81-2118 All licenses or registrations issued under the State

27 	Electrical Act shall expire on December 31 of each even-numbered year.

28 	All license or registration applications shall include the applicant's

29 	social security number.

30 	The board shall, by a unanimous vote of the board, set reasonable

31 	fees for examination, issuance, and renewal of licenses and registrations

-8-

LB725 	LB725

2026 	2026

1 	issued under the State Electrical Act in amounts necessary to cover the

2 	costs incurred by the State Electrical Division and the board in

3 	administering and carrying out the purposes of the State Electrical Act

4 	and in a manner that unnecessary surpluses are avoided. The board shall

5 	annually file a report with the Attorney General and the Legislative

6 	Fiscal Analyst stating the amount of the fees set by the board. Such

7 	reports shall be submitted on or before July 1 of each year. The report

8 	submitted 	to 	the 	Legislative 	Fiscal 	Analyst 	shall 	be 	submitted

9 	electronically. The board shall establish the following fees:

10 	(1) For examination for the following licenses:

11 	(a) Electrical contractor;

12 	(b) Class B electrical contractor;

13 	(c) (b) Journeyman electrician;

14 	(d) Class B (c) Residential journeyman electrician;

15 	(e) Resident journeyman electrician;

16 	(f) (d) Fire alarm installer; and

17 	(g) (e) Special electrician license , sixty dollars;

18 	(2) For each year of the two-year license period for issuance and

19 	renewal of the following licenses:

20 	(a) Electrical contractor; and

21 	(b) Class B electrical contractor;

22 	(c) (b) Journeyman electrician;

23 	(d) Class B , residential journeyman electrician;

24 	(e) Residential journeyman electrician;

25 	(f) Fire , fire alarm installer; and

26 	(g) Special , or special electrician;

27 	(3) For each year of the two-year registration period for issuance

28 	and renewal as an apprentice electrician; and

29 	(4) For renewal on or after September 9, 1993, of the Class A master

30 	electrician license following licenses issued prior to such date for each

31 	year of the two-year license period. :

-9-

LB725 	LB725

2026 	2026

1 	(a) Class B electrical contractor;

2 	(b) Class A master electrician; and

3 	(c) Class B journeyman electrician.

4 	The holder of a an expired license or registration may renew the

5 	license or registration beginning October 1 through November 31 of even

6 	numbered years upon payment of the license or registration fee. The

7 	holder of a license or registration may renew the license or registration

8 	from December 1 through December 31 of even numbered years for a period

9 	of three months from the date of expiration upon payment of the license

10 	or registration fee plus ten percent of the renewal fee for each month or

11 	portion thereof past the expiration date. All holders of expired licenses

12 	or registrations expired for more than three months shall apply for a new

13 	license or registration.

14 	Sec. 9. Section 81-2121, Reissue Revised Statutes of Nebraska, is

15 	amended to read:

16 	81-2121 Nothing in the State Electrical Act shall be construed to:

17 	(1) Require employees of municipal corporations, public power

18 	districts, public power and irrigation districts, electric membership or

19 	cooperative 	associations, 	public 	utility 	corporations, 	railroads,

20 	telephone or telegraph companies, or commercial or industrial companies

21 	performing manufacturing, installation, and repair work for such employer

22 	to hold licenses while acting within the scope of their employment;

23 	(2) Require any person doing work for which a license would

24 	otherwise be required under the act to hold a license issued under the

25 	act if he or she is the holder of a valid license issued by any city or

26 	other political subdivision, so long as he or she makes electrical

27 	installations only in the jurisdictional limits of such city or political

28 	subdivision and such license issued by the city or political subdivision

29 	meets the requirements of the act;

30 	(3) Cover the installation, maintenance, repair, or alteration of

31 	vertical transportation or passenger conveyors, elevators, moving walks,

-10-

LB725 	LB725

2026 	2026

1 	dumbwaiters, stagelifts, manlifts, or appurtenances thereto beyond the

2 	terminals of the controllers. The licensing of elevator contractors or

3 	constructors shall not be considered a part of the licensing requirements

4 	of the act;

5 	(4) Require a license of any person who engages any electrical

6 	appliance where approved electrical outlets are already installed;

7 	(5) Prohibit an owner of property from performing work on his or her

8 	principal residence, if such residence is not larger than a single-family

9 	dwelling, or farmstead farm property, excluding commercial or industrial

10 	installations or installations in public-use buildings or facilities, or

11 	require such owner to be licensed under the act;

12 	(6) Require that any person be a member of a labor union in order to

13 	be licensed; or

14 	(7) Prohibit a pump installation contractor or pump installation

15 	supervisor licensed under the Water Well Standards and Contractors'

16 	Practice Act from wiring pumps and pumping equipment at a water well

17 	location to the first control.

18 	Sec. 10. Section 81-2134, Reissue Revised Statutes of Nebraska, is

19 	amended to read:

20 	81-2134 (1) As to state inspections: (a) At or before commencement

21 	of any electrical installation which is required by law to be inspected,

22 	the person responsible for the installation shall forward a request for

23 	inspection to the board completed in the manner prescribed by the

24 	board. ; and

25 	(b) On installations requiring more than six months in the process

26 	of construction and in excess of three hundred dollars total inspection

27 	fees, the persons responsible for the installation may, after a minimum

28 	filing fee of one hundred dollars, pay a prorated fee for each month and

29 	submit it with an order for payment initiated by the electrical

30 	inspector.

31 	(2) Where wiring is to be concealed, the inspector must be notified

-11-

LB725 	LB725

2026 	2026

1 	within reasonable time to complete a rough-in inspection prior to

2 	concealment, exclusive of Saturdays, Sundays, and holidays. If wiring is

3 	concealed before rough-in inspection without adequate notice having been

4 	given to the inspector, the person responsible for having enclosed the

5 	wiring shall be responsible for all costs resulting from uncovering and

6 	replacing the cover material.

7 	(3) Inspections shall be made within one week of the appropriate

8 	request. When necessary, circuits may be energized by the authorized

9 	installer prior to inspection but the installation shall remain subject

10 	to condemnation and disconnection.

11 	Sec. 11. Section 81-2135, Reissue Revised Statutes of Nebraska, is

12 	amended to read:

13 	81-2135 (1) The board shall, by a unanimous vote of the board, set

14 	reasonable fees for state electrical inspections under the State

15 	Electrical Act in amounts necessary to cover the costs incurred by the

16 	State Electrical Division and the board in administering and carrying out

17 	the purposes of the State Electrical Act and in a manner that unnecessary

18 	surpluses are avoided. The board shall annually file a report with the

19 	Attorney General and the Legislative Fiscal Analyst stating the amount of

20 	the fees set by the board. Such reports shall be submitted on or before

21 	July 1 of each year. The report submitted to the Legislative Fiscal

22 	Analyst shall be submitted electronically.

23 	(2) All state electrical inspection fees shall be due and payable to

24 	the board at or before commencement of the installation and shall be

25 	forwarded with the request for inspection. Inspection fees set by the

26 	board in accordance with this section shall not apply within the

27 	jurisdiction of any county, city, or village if the county, city, or

28 	village has adopted an ordinance or resolution as set forth in the State

29 	Electrical Act.

30 	(3) The board shall establish the following fees:

31 	(a) Minimum fee for each separate inspection of an installation,

-12-

| LB725 2026 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 | LB725 2026 replacement, alteration, or repair; (b) Services, change of services, temporary services, additions, alterations, or repairs on either primary or secondary services; (c) Field irrigation system inspections; (d) The first reinspection required as a result of a correction order; a second reinspection required as a result of noncompliance with the same correction order; and subsequent reinspections associated with the same correction order; and (e) An inspection is requested by an owner. (4) The fee for fire and accident inspections shall be computed at the rate set by the board per hour, and mileage and other expenses shall be reimbursed as provided in section 81-1176. (5) After an inspection the board may charge an additional fee if the cost incurred during the inspection is greater than what was covered by the original inspection fee. Sec. 12. Section 81-2144, Reissue Revised Statutes of Nebraska, is amended to read: 81-2144 (1) A person who is a directional boring or knifing contractor may install underground conduit or conductors on the load side of the meter under the direct supervision of a Class A master |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | electrician, |  |  | or | journeyman |  | electrician |  | , | or | Class | B | journeyman |  |
|  | electrician who is employed by an electrical contractor. (2) Electrical contractors who own and provide directional boring or knifing services shall only allow employees that have an apprentice registration or a journeyman electrician, a Class A master electrician, |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | or | an | electrical |  |  | contractor |  | license | perform |  | directional |  |  | boring |
|  | activities. Sec. 13. Original sections 81-2102, 81-2107, 81-2108, 81-2109, 81-2112.02, 81-2113, 81-2117.02, 81-2118, 81-2121, 81-2134, 81-2135, and 81-2144, Reissue Revised Statutes of Nebraska, are repealed. |  |  |  |  |  |  |  |  |  |  |  |  |  |

-13-